## Slide 1
Building Codes Assessment Tool
ASHRAE Center of Excellence
for Building Decarbonization
<Name, Affiliation>
<Workshop Location>
<Workshop Date>
Notes: The ASHRAE Building Codes Assessment Tool was developed by the ASHRAE Center of Excellence for Building Decarbonization as part of the Flexible Building Codes Framework project.
The ASHRAE CEBD project team included Clay Nesler, Ghina Annan and Amr Suliman with support from the Global Technology Integration Council and Global Government Affairs Committees. International project collaboration partners include the World Resources Institute, C40 Cities, World Bank/IFC and the Pacific Northwest National Laboratory.

## Slide 2
Agenda
Background
Building Codes Assessment Tool (BCAT)
Building Codes Assessment Process
  Building Code Needs – Why...
  Building Code Measures – What...
  Building Policies and Codes – How...
  Stakeholder Engagement – Who...
Next Steps
References and Glossary
Appendix – Building Code Design Elements
Copyright 2026 – ASHRAE
Notes: The ASHRAE Building Codes Assessment Tool (BCAT) presentation starts by providing background on the importance of international building energy codes, including their role in addressing building decarbonization challenges. The presentation then includes a brief description of the ASHRAE Flexible International Building Code Framework which provides the technical basis for the assessment tool.
The building code assessment process consists of four sections:
  Building Code Needs prioritizes building code objectives, answering the “why” national, state and local governments need updated, modern building energy codes.
  Building Code Measures defines and prioritizes the technical building construction and operational measures required to meet building code stakeholder needs and objectives.
  Building Policies and Codes assesses and prioritizes government building policies and evaluates government capabilities and capacity for developing, implementing and improving building energy codes initially and over time.
  Stakeholder Engagement prioritizes which individuals and entities need to be involved in building code development and implementation.
In addition to supporting the interactive stakeholder assessment process, the tool also incorporates a ”gamification” element to introduce an individual or team competitive element into the process. In all four sections of the workshop, individual participant priority selections will be compared to consensus results from initial pilot workshops in North America, Kenya and Lebanon.
After the summary and next steps slide, there a short glossary of terms and links to international building code references and building energy standards at the end of the presentation.
The presentation includes an optional Appendix which includes a list of common building code design elements. These elements provide an excellent basis for participant education and discussion after the BCAT assessment exercises are completed.
IMPORTANT – DO NOT distribute copies of the slides to the workshop participants prior to the session as the presentation includes the answers for the game element of the assessment. The game objective is to see which participant(s) come closest to prioritizing the needs, measures, policies, capabilities and stakeholders compared to the consensus pilot workshop participants.

## Slide 3
Background
The Building Codes Assessment Tool (BCAT) was developed by the ASHRAE Center of Excellence for Building Decarbonization as part of the Flexible Building Codes Framework project.
The tool is designed to support collaborative, multi-stakeholder needs and capabilities assessment workshops as an initial step in developing and implementing new or enhanced building energy codes and policies aligned with achieving long-term building sector decarbonization.
The tool was primarily developed for use in emerging economies without mandatory building energy codes but is flexible enough be used in all national and local jurisdictions to help update existing building codes and improve building code development and implementation practices.
Copyright 2026 – ASHRAE

## Slide 4
The Challenge
According to the IEA Net Zero Scenario, all countries will have to implement national building codes, along with enabling policies and programs, that rapidly shift the market towards deep energy efficiency, zero carbon emission targets, electrification of heating, renewables integration and demand flexibility.
Only 26 percent of countries have adopted mandatory energy codes at the national level for all building types and 2.4 billion m2 (25.8 billion ft2) of floor space were built last year without meeting any energy-related performance requirements.
82 percent of the population growth is expected through 2030 in countries without mandatory building energy codes.
Copyright 2026 – ASHRAE

## Slide 5
ASHRAE Commitment to International Building Codes
“We are retooling the focus of our existing energy standards to address embodied and operational carbon in addition to energy efficiency...
...ASHRAE is building on Standard 90.1 to create a streamlined, flexible building standard framework to help countries in the Global South develop their own consensus-based building codes, with the target of achieving zero-carbon ready emissions in new buildings by 2030.”
Ginger Scoggins, ASHRAE Presidential
Member Speaking at COP28 in Dubai, UAE
Copyright 2026 – ASHRAE

## Slide 6: Flexible Building Code Development Framework
Building Code Needs
Environment
Public Infrastructure
Building Owner/Occupant
Policy/Regulatory
Building Code Measures
Building Materials
Passive Efficiency
Active Efficiency
Building Operations
Distributed Energy
Building Code Implementation
Code Implementation Process
Pre-construction Compliance
Post-Construction Compliance
Compliance Tools and Methods
Compliance Audit Process
Building Code Development
Code Development Process
Stakeholder Engagement
Code Impact Analysis
Regulatory/Legislative Process
Code Revision Process
Building Code Training and Education
Building Code Officials
Architecture/Engineering Professionals
Building Contractors
Building Owners and Developers
Building Operators and Managers
Building Code Stakeholder Engagement
Copyright 2026 – ASHRAE

## Slide 7
ASHRAE Building Code Assessment Tool (BCAT)
Needs
Assessment
Environment
Public Infrastructure
Building Owner/Occupant
Policy/Regulatory
Measures
Assessment
Stakeholder
Engagement
National Government
State-Local Government
Design/Construction
Product/System Providers
Buildings Owners/Managers
Other Stakeholders
Building Policies
and Codes
Government Leadership
Supporting Policies
Code Development
Code Implementation
Training and Education
Building Materials
Passive Efficiency
Active Efficiency
Building Operations
Distributed Energy
Copyright 2026 – ASHRAE

## Slide 8
Building Code Assessment Tool Prioritization Process
Copyright 2026 – ASHRAE
Group Topic Review
Individual Prioritization
Group Prioritization
Participant Segmentation Analysis
Workshop Consensus Analysis

## Slide 9
Building Code Needs Assessment
Needs
Assessment
Environment
Public Infrastructure
Building Owner/Occupant
Policy/Regulatory
Measures
Assessment
Stakeholder
Engagement
Building Policies
and Codes
Copyright 2026 – ASHRAE

## Slide 10
Building Code Needs Assessment
Copyright 2026 – ASHRAE
Notes: The matrix represents a high-level view of the topics in each section. The following slides provide each topic in sequence and is easier to read when completing the scoring sheets.

## Slide 11
Environmental and Public Infrastructure Needs
N1 - Reduce building operational greenhouse gas emissions
N2 - Reduce embodied carbon in building materials and equipment
N3 - Reduce fossil fuel use in buildings (electrification)
N4 - Increase the use of zero carbon renewable energy
N5 - Increase facility resilience to climate change impacts
N6 - Decrease water consumption and demand
N7 - Protect and enhance natural systems and habitats
N8 - Decrease transportation-related emissions
N9 - Reduce waste from building construction and renovation
N10 - Decrease electrical grid capacity requirements
Copyright 2026 – ASHRAE
Notes: It is not necessary to read each topic for the participants. It is helpful for participants if the facilitator defines complex terms, such as operational greenhouse gas emissions and embodied carbon, in layperson terms and provides examples when possible. This adds an important educational component to the workshop.
There are definitions for each topic in exercises 2 and 3 but exercises 1 (needs) and 4 (stakeholder engagement) should be self-explanatory if introduced by the facilitator.

## Slide 12
Building Owner/Occupant and Policy/Regulatory Needs
N11 - Maintain building occupant comfort, health and safety
N12 - Increase building owner and tenant affordability
N13 - Increase building asset value
N14 - Support sustainability goals and commitments
N15 - Maintain compliance with government regulations
N16 - Align building policies with public goals and commitments
N17 - Assure high levels of stakeholder engagement in policy development/implementation
N18 - Reduce the cost/complexity of policy development and implementation
N19 - Accurately estimate the costs and benefits of proposed building policies and regulations
N20 - Assure high levels of compliance for building policies and regulations
Copyright 2026 – ASHRAE

## Slide 13
Building Code Measures Assessment
Needs
Assessment
Environment
Public Infrastructure
Building Owner/Occupant
Policy/Regulatory
Measures
Assessment
Stakeholder
Engagement
Building Policies
and Codes
Building Materials
Passive Efficiency
Active Efficiency
Building Operations
Distributed Energy
Copyright 2026 – ASHRAE

## Slide 14
Building Code Measures Assessment
Copyright 2026 – ASHRAE
Notes: Brief definitions are included for these measures in the next five slides.

## Slide 15
Building Materials and Construction Measures
M1 - Building Material Reuse: Reuse of existing construction elements and materials without reprocessing and the repurposing existing building structures for new uses (adaptive reuse).
M2 - Construction Material Waste Reduction: Diverting construction and demolition materials from disposal by using recycled products, practicing source reduction, preserving existing structures, salvaging construction structures, and reusing existing materials.
M3 - Local/Indigenous Construction: Use of local natural materials and in-formal construction practices, often implemented by the non-professional building owners/tenants.
M4 - Low Carbon Building Materials: Materials used in construction with a low carbon footprint in terms of greenhouse gas emissions generated during their manufacturing, transportation, installation, maintenance, and disposal.
M5 - Low GWP Refrigerants: Refrigerants used in HVAC/R equipment with low relative global warming potential, such as natural refrigerants, hydrocarbons, hydrofluoroolefins (HFOs), and some hydrofluorocarbons (HFCs).
Copyright 2026 – ASHRAE

## Slide 16
M6 - Building Thermal Envelope - The design and selection of materials for a building’s physical barrier between the external environment and internal conditioned space to reduce energy consumption and improve building resiliency.
M7 - Building Fenestration - Proper design, selection, and installation of windows and skylights to minimize heating, cooling, and lighting energy use while improving comfort for occupants.
M8 - Building Shading - The use of natural habitat or artificial devices to control the amount of sunlight entering a building, reducing its cooling requirements, and improving natural lighting quality.
M9 - Building Surface Reflectivity - The ability of a building’s surface to reflect sunlight and heat, reducing heat flow from the roof into the occupied space and improving comfort and safety in buildings without air conditioning.
M10 - Natural Ventilation and Thermal Management - The process of using natural forces of wind and thermal buoyancy to deliver fresh air into buildings to improve indoor environmental quality and reduce energy consumption.
Passive Efficiency Measures
Copyright 2026 – ASHRAE

## Slide 17
M11 - High Efficiency Cooling Equipment – Air and water-cooling systems designed to provide increased user thermal comfort, improved indoor environmental quality, and result in considerable energy, emissions, and operational cost savings.
M12 - High Efficiency Space and Water Heating Equipment – Air and water heating systems designed to provide increased user thermal comfort, improved indoor environmental quality, and result in considerable energy, emissions, and operational cost savings.
M13 - High Efficiency/All-Electric Heating Systems - Replacing fossil-fuel systems for space heating, water heating and cooking with highly efficient, cost-effective electric alternatives that reduce greenhouse gas emissions, while reducing cost and reliability impacts on the grid.
M14 - Thermal Energy Storage and Recovery - Use of hot and cold thermal energy storage and the recovery of waste energy to optimize building heating and cooling performance and cost.
M15 - Building Management and Control Systems - Computer-based systems installed to control and monitor a building’s electrical and mechanical systems, such as HVAC, lighting, energy management, fire safety, and security systems.
Active Efficiency Measures
Copyright 2026 – ASHRAE

## Slide 18
M16 - High Efficiency Lighting – Use of high efficiency indoor and outdoor lighting fixtures and bulbs using LED, OLED and other high efficiency/efficacy solid state technologies.
M17 - Lighting Control and Plug-load Management - Strategies and devices for automatic switching and dimming of general indoor and outdoor lighting and the control of plug loads such as computer monitors, task lighting, coffeemakers, and vending machines to reduce energy consumption.
M18 - Water Conservation - Reduction in water resources through the installation of high efficiency fixtures, elimination of leaks, water conserving cooling towers, smart irrigation systems, and other actions throughout the life of a building.
M19 - Indoor Air Quality Management - Designing and operating building systems to provide a comfortable, safe, and healthy environment that reduces common pollutants within buildings.
M20 - Building Retro-commissioning - A systematic process applied to existing buildings that have never been properly commissioned to ensure that their systems can be operated and maintained according to the owner’s needs and functional requirements.
Building Operations Measures
Copyright 2026 – ASHRAE

## Slide 19
M21 - Energy Metering and Monitoring – Real-time electricity and other energy measurement (fossil gas, steam, water) at the building and site level including point of use monitoring for major energy consuming systems and equipment.
M22 - On-site Renewable Energy - Generating renewable energy on-site (solar, wind, hydro, biofuels) where the power is used.
M23 - Battery Electric Storage - Use of electric energy storage technologies to store energy for later use in powering building electrical systems and devices and providing load management services including load shifting, shaping, shedding and backup power.
M24 - Managed Electric Vehicle Charging - An adaptive method of electric vehicle charging to mitigate impacts on the electrical grid and minimize costs by controlling the time and rate of charging using time-of-use electricity pricing or other utility signals.
M25: Demand Flexibility - The capability for demand-side building loads to change their electricity consumption patterns by shaping, shedding, and shifting energy use on a short-term basis based on time-of-use electricity pricing or utility requests.
Distributed Energy Resource Measures
Copyright 2026 – ASHRAE

## Slide 20
Building Policies and Codes Assessment
Needs
Assessment
Environment
Public Infrastructure
Building Owner/Occupant
Policy/Regulatory
Measures
Assessment
Stakeholder
Engagement
Building Policies
and Codes
Government Leadership
Government Policies
Code Development
Code Implementation
Training and Education
Building Materials
Passive Efficiency
Active Efficiency
Building Operations
Distributed Energy
Copyright 2026 – ASHRAE

## Slide 21
Building Policies and Code Capabilities Assessment
Copyright 2026 – ASHRAE
Notes: Brief definitions are included for these policies and capabilities in the next five slides.

## Slide 22
P1 - National NDCs/Climate Action Plans: Inclusion of building policies, regulations and codes in updated UNFCCC Nationally Determined Contributions and national building decarbonization roadmaps.
P2 - State/Local Climate Action Plans: Development and publication of climate action plans and roadmaps for building decarbonization and national cooling action plans.
P3 - Building Code Enabling Legislation: Existence of enabling national or municipal legislation for development and enforcement of building regulations and codes.
P4 - Government Procurement Policy: National or local government policies driving the procurement of above-code/high-performance buildings, materials, systems and equipment.
P5 - Government Demonstration Projects: Leadership through example by designing, constructing, retrofitting and operating public buildings at proposed code and above-code, high-performance standards in demonstration and pilot projects.
Government Leadership
Copyright 2026 – ASHRAE

## Slide 23
P6 - Building Energy Benchmarking: Periodically measuring and reporting building energy performance against similar buildings or industry standards, often including building labeling of a performance level or grade.
P7 - Building Audits and Retro-commissioning: Requirements for commercial buildings to undergo energy audits, retuning, or retro-commissioning to improve energy efficiency and reduce energy consumption, often based on building size, type, and age.
P8 - Building Performance Standards: Policies designed to improve the energy efficiency and environmental impact of existing buildings by setting performance targets for energy use, emissions, or other metrics which become more stringent over time.
P9 – Building Equipment and Appliance Standards: Standards that regulate the energy efficiency and performance of residential and commercial equipment and appliances for heating and cooling systems, lighting, refrigeration, and other applications.
P10 - Government Incentives and Financial Models: financial or other benefits for code, or above code, compliance including interest loans, grants, rebates, tax credits, permitting and code allowances, on-bill payment, pay through savings, and ESCO models
Government Policies
Copyright 2026 – ASHRAE

## Slide 24
C1 - Code Development Process Management - Ministries of housing, urban development, energy, and environment oversee the development of building codes, aligning them with national goals, urbanization strategies, and safety regulations.
C2 – Stakeholder Engagement Process – Ministries of housing, urban development, energy, and environment host consultations with government, academia, industry, and civil society and coordinate with standards bodies to ensure technical accuracy.
C3 - Code and Policy Impact Analysis – National agencies and standards bodies, technical experts, universities and research institutes, international organizations and development partners work together to analyze national and local impacts.
C4 - Regulatory/Legislative Process Management - Ministries of housing, urban development, energy, and environment, national standards organizations, legislative bodies and regulatory commissions participate in regulatory/legislative processes.
C5 - Code Revision Process Management – National ministries, standards bodies, technical experts, academia and international partners participate in code revisions.
Building Code Development Capabilities
Copyright 2026 – ASHRAE

## Slide 25
C6 - Code Implementation Process Management – National ministries oversee the national rollout of codes and coordinate training and compliance monitoring while municipalities conduct plan reviews, issue permits, and inspect buildings for compliance.
C7 - Pre-construction Compliance Process – Municipal building departments review architectural and engineering plans to ensure they meet energy code requirements before issuing building permits and conduct compliance checks.
C8 - Post-construction Compliance Process - Municipal building departments conduct final inspections and review require documentation such as commissioning reports, energy audits, or performance testing before issuing a certificate of occupancy.
C9 - Code Compliance Tools and Methods – Compliance tools and methods include standardized forms, energy modeling tools, or energy performance benchmarks.
C10 - Code Compliance Audit Process - Municipal building departments conduct local audits and may require energy performance certificates or post-occupancy evaluations.
Building Code Implementation Capabilities
Copyright 2026 – ASHRAE

## Slide 26
C11 – Building Code Officials – Training for building code officials, code enforcement officers, building inspectors, building plans examiners, and permit technicians.
C12 - Architecture and Engineering Professionals – Training for architects, designers, structural engineers, mechanical engineers, electrical engineers, environmental engineers, systems engineers, lighting specialists, and commissioning agents.
C13 – Building Contractors – Training for general contractors, electrical contractors, plumbing contractors, technology contractors, HVAC contractors, concrete, framing, and roofing contractors, solar energy contractors, and master systems integrators.
C14 - Building Owners and Developers – Training for private owner/developers, corporate, institutional and government owner/developers, partnerships and REITs.
C15 - Building Operators and Managers – Training for property managers, facilities managers, operations managers, asset managers, energy managers, security managers and space planners.
Building Code Training and Education Capabilities
Copyright 2026 – ASHRAE

## Slide 27
Stakeholder Engagement
Needs
Assessment
Environment
Public Infrastructure
Building Owner/Occupant
Policy/Regulatory
Measures
Assessment
Stakeholder
Engagement
National Government
State-Local Government
Design/Construction
Product/System Providers
Buildings Owners/Managers
Other Stakeholders
Building Policies
and Codes
Government Leadership
Government Policies
Code Development
Code Implementation
Training and Education
Building Materials
Passive Efficiency
Active Efficiency
Building Operations
Distributed Energy
Copyright 2026 – ASHRAE

## Slide 28
Stakeholder Engagement
Copyright 2026 – ASHRAE

## Slide 29
S1 - Policy Makers
S2 - Government Regulators
S3 - Energy, Environment and Natural Resources
S4 - Housing and Urban Development
S5 - Finance and Administration
S6 - Urban and Infrastructure Planning
S7 - Economic Development
S8 - Workforce Development
S9 - Building and Construction Regulations
S10 - Building Regulatory Compliance and Review
National, State and Local Government
Copyright 2026 – ASHRAE

## Slide 30
S11 - Architects and Designers
S12 - Green Building Consultants
S13 - Mechanical and Electrical Engineers
S14 - Mechanical and Electrical Contractors
S15 – Renewable Energy Contractors
S16 - Building Construction Material Providers
S17 - Building Interior Systems and Component Providers
S18 - Mechanical/Electrical/Plumbing Systems Providers
S19 - Building Appliance and Equipment Suppliers
S20 - Renewable Energy Technology Providers
Design, Construction and System Providers
Copyright 2026 – ASHRAE

## Slide 31
S21 - Residential Housing Development
S22 - Residential Homeowner/Renter Associations
S23 - Commercial Real Estate Development
S24 - Commercial Building Owners and Managers
S25 - Facility Management and Building Operators
S26 - Energy and Sustainability Managers
S27 - Non-Governmental and International Organizations
S28 - Financial Institutions
S29 - Energy and Water Utilities
S30 - Research and Academic Institutions
Building Owners, Managers and Other Stakeholders
Copyright 2026 – ASHRAE

## Slide 32
Next Steps
Review the key findings from today’s workshop
  What were the consensus priorities for each exercise in today’s workshop?
  Where did today’s workshop participants disagree on priorities?
  Where are there significant differences in priorities based on participant roles?
Create a plan for developing, implementing and improving new and existing building energy codes based on information from this workshop
  Leverage best practices from the code capabilities assessment exercise and technical references to address high priority needs, implement high priority technical measures while engaging with the highest priority stakeholders.
  An analysis of the workshop data will be provided in the summary report.
Copyright 2026 – ASHRAE

## Slide 33
ANSI/ASHRAE/IES Standard 90.1-2022, Energy Efficiency Standard for Sites and Buildings Except Low-Rise Residential Buildings
ANSI/ASHRAE Standard 90.2-2024, High-Performance Energy Design of Residential Buildings
ANSI/ASHRAE/ICC/USGBC/IES Standard 189.1-2020, Standard for the Design of High-Performance Green Buildings
ANSI/ASHRAE/IES Standard 100-2024, Energy and Emissions Building Performance Standard for Existing Buildings
ANSI/ASHRAE Standard 228-2023, Standard Method for Evaluating Zero Net Energy Building Performance
International Code Council (ICC), International Building Code-2024
International Code Council (ICC), International Residential Code-2024
References – International Model Building Codes
Copyright 2026 – ASHRAE
Notes: This slide includes links to international building codes and standards that provide useful global references for building energy code development for commercial and residential buildings.

## Slide 34
Global Alliance for Buildings and Construction (GlobalABC). (2023). Global Status Report for Buildings and Construction. United Nations Environment Programme.
GlobalABC. (2024). Climate Action Roadmaps for Buildings and Construction: Step-by-Step Guidance. United Nations Environment Programme.
Global Buildings Performance Network (GBPN). (2023). Policy Evidence Library.
International Building Quality Centre (IBQC). (2020). Good Practice Building Inspector Guidelines for Emerging Economies.
IBQC. (2021). Good Practice Guidelines for Low Income Countries.
IBQC. (2021). Principles for Good Practice Building Regulation.
International Code Council (ICC). (2023). Capacity Building Toolkit: Proposed Deliverables. Washington, D.C.: International Code Council.
ICC. (2023). Codes Breakthrough Agenda: Interim Report in Support of the Buildings Breakthrough Priority Action 5.
References
Copyright 2026 – ASHRAE

## Slide 35
International Energy Agency (IEA) Energy in Buildings and Communities. (2021). Building Energy Codes Compliance Practices. IEA Energy in Buildings and Communities Programme.
IEA. (2021). All countries targeted for zero-carbon-ready codes for new buildings by 2030. IEA Tracking Report.
IEA. (2021). Buildings: Codes and Standards. IEA Technical Report.
OECD. (2024). Global Monitoring of Policies for Decarbonising Buildings: A Multi-level Approach. OECD Urban Studies, OECD Publishing, Paris.
World Bank. (2023). Building Green: Main Findings. Washington, D.C.: World Bank.
World Bank. (2023). Building Green: Country Profiles. Washington, D.C.: World Bank.
World Bank. (2023). Building Code Checklist for Green Buildings. Washington, D.C.: World Bank.
World Bank. (2023). Unlocking Efficiency: The Global Landscape of Building Energy Regulations and Their Enforcement. Washington, D.C.: World Bank Group.
World Resources Institute (WRI). (2023). Turkiye Building Sector Decarbonization Roadmap. WRI Ross Center for Sustainable Cities.
References
Copyright 2026 – ASHRAE

## Slide 36
ANSI – American National Standards Institute
ASHRAE – American Society of Heating, Refrigerating and Air-Conditioning Engineers
CEBD – Center of Excellence for Building Decarbonization
COP – Conference of the Parties for country signatories to the UNFCCC
GBC – Green Building Council
GFDRR – Global Facility for Disaster Reduction and Recovery - The World Bank
GWP – Global Warming Potential
HVAC – Heating, Ventilation and Air-Conditioning
IEA – International Energy Agency
IES – International Illuminating Engineering Society
ICC – International Code Council
NDCs – Nationally Determined Contributions
PNNL – Pacific Northwest National Laboratory
UNFCCC – United Nations Framework Convention on Climate Change
WorldGBC – World Green Building Council
WRI – World Resources Institute
Glossary
Copyright 2026 – ASHRAE
Notes: This slide is a summary of important abbreviations included in the BCAT presentation.

## Slide 37
Appendix – Building Code Design Elements
Building Code Types
  Prescriptive
  Performance-based
Building Code Metrics
  Energy
  Carbon Emissions
Building Code Applicability
  New Construction
  Renovation
  Existing Buildings
Building Type Coverage
  Residential
  Commercial
Note: Incremental incorporation of building code design elements with increasing complexity over time is a best practice for emerging economies.
Copyright 2026 – ASHRAE
Notes: The Appendix is an optional section in the workshop presentation that provides definitions of important building code design elements.
The design elements include building code types, building code metrics, building code applicability and build type coverage. The next four slides can be used to prompt discussion of next steps in building code development, can be evaluated based on coverage in current building codes, and/or assessed as a group based on the magnitude of impact, and difficulty of implementation.
The appendix can also be provided as a reference after the workshop or included as part of the final report.

## Slide 38
E1 - Prescriptive Codes: Specification of minimum or maximum values for individual building components and materials that must be met to ensure compliance without requiring whole-building energy modeling.
E2 - Performance-based Codes: Specification of building performance goals rather than prescribing specific construction methods and materials which allows greater flexibility and innovation but generally requires testing or modeling to prove compliance.
E3 - Outcome-based Codes: Specification of desired building performance outcomes (energy, carbon intensity) rather than prescribing specific construction methods and materials which are measured post-construction to verify compliance.
E4 - Combined Codes: Combination of prescriptive (typically envelope, HVAC/lighting efficiency, and solar heat gain) and energy performance targets while allowing system design trade-offs.
E5 - Voluntary Codes: Compliance is voluntary, and may be encouraged through incentives, for applicable buildings and projects which are not subject to regulatory obligation.
Appendix - Building Code Types
Copyright 2026 – ASHRAE

## Slide 39
E6 - Energy Use: Annual energy consumption (site or source energy) per unit area based on building type, use and occupancy.
E7 - Energy Demand: Peak electrical demand per unit area and specific time periods based on building type, use and occupancy.
E8 - Operational Carbon: Annual greenhouse gas emissions per unit area during the building’s use phase.
E9 - Embodied Carbon: Total greenhouse gas emissions generated during the extraction, manufacturing, and transportation of building materials and during building construction.
E10 - Whole Life Carbon Emissions: Total operational and embodied carbon as well as emissions from building end-of-life demolition, material disposal and recycling.
Appendix - Building Code Metrics
Copyright 2026 – ASHRAE

## Slide 40
E11 - New Construction: Code applicability is based on building size, percentage of building floorspace planned for newly constructed space as well as major renovations which involve structural changes or significant system upgrades.
E12 - Major Renovations/Repairs: Structural changes (walls, floors, ceilings), system upgrades (HVAC, insulation, windows, and lighting) and change in use or occupancy often require full compliance with current codes including low-flow fixtures, safe electrical distribution, and modern internet infrastructure.
E13 – Building Use/Occupancy Change: Change in building use or occupancy often require full compliance with current building codes.
E14 – Building Ownership Change: Change in building ownership may require that buildings be brought up to current building codes.
E15 - Existing Buildings: Existing buildings may be required to conform with current building codes after specified periods or through building performance standards.
Appendix - Building Code Applicability
Copyright 2026 – ASHRAE

## Slide 41
E16 - Small Residential Buildings: Low-rise dwellings, usually one to three stories tall, with limited occupancy (one to two families), often under a certain square footage threshold with separate means of egress and accessory structures like detached garages and sheds.
E17 - Large Residential Buildings: High-rise dwellings, more than three stories tall, which include hotels, motels, apartments, dormitories, small residential care facilities, assisted living or group homes with limited occupants.
E18 - Small/Medium Commercial Buildings: One to two-story buildings including retail stores, small restaurants and cafes, clinics and professional services offices with low occupant load and a limited floor area (5-10,000 square feet)
E19 - Large Commercial Buildings: Buildings over three stories with large floor areas (>10, 000 ft2 ) including offices, industry, data centers and mixed-use facility with central systems.
E20 - Large Institutional Buildings: Buildings with large floor areas (>10,000 ft2 ) including hospitals and medical centers, nursing homes and assisted living facilities, correctional facilities, mental health institutions and long-term care facilities which may be public or privately owned.
Appendix - Building Types
Copyright 2026 – ASHRAE

## Slide 42
Thanks for your participation...