## Slide 1
Building Decarbonization Strategy Game
<Name>
<Organization>
<Event>
<Date>
Developed by the ASHRAE Task Force on Building Decarbonization
Notes: The Building Decarbonization Strategy Game was initially developed for a panel session at the 2023 ASHRAE Annual Meeting in Tampa, FL. It has been significantly refined since the first “playing” and has been facilitated at chapter meetings and industry events by four different members of the ASHRAE TFBD Executive Committee. The following facilitator’s guidance is provided based on feedback from these initial sessions.
The game can be “played” in-person or virtually, in large or small group settings, competing either individually or in teams. When played individually, the game takes about 45 minutes to complete. When played in small groups, additional time is needed for the group to discuss - and agree on – their consensus ranking of each group of five industry drivers or practices. While either approach is educational, discussing the industry drivers and best practices with industry peers can be more engaging and informative. Facilitators can include supplemental presentation content before or after the game content, including background slides on building decarbonization or information on building decarbonization resources.
The strategy game was developed by Clay Nesler (clay@neslergroup.com) in collaboration with members of the ASHRAE TFBD Executive Committee.

## Slide 2
The Building Decarbonization Strategy Game was developed by the ASHRAE Taskforce for Building Decarbonization as a fun, interactive group educational activity to learn about industry drivers and best practices in building decarbonization.
During the game, participants working individually (or in teams) first rank 10 building decarbonization market drivers for based on relative importance.
Participants then rank 15 building decarbonization practices (related to project design, development, and construction) and 20 decarbonization measures (covering energy efficiency, facility management and renewable energy) based on relative impact.
Participant rankings are compared to rankings from a survey of over 50 ASHRAE building decarbonization task force members and the individual (or team) with the lowest score (i.e., difference in ranking) wins the game...and a prize!
Introduction
Copyright 2024 – ASHRAE
Notes: The Building Decarbonization Strategy Game was developed by the ASHRAE Taskforce for Building Decarbonization as a fun, interactive group educational activity to learn about building industry drivers and best practices related to building decarbonization.
During the game, participants working individually (or in teams) first rank 10 building decarbonization market drivers for based on relative importance. Participants then rank 15 building decarbonization practices (related to project design, development, and construction) and 20 decarbonization measures (covering energy efficiency, facility management and renewable energy) based on relative impact.
Participant rankings are compared to rankings from a survey of over 50 ASHRAE Task Force for Building Decarbonization (TFBD) Executive Committee and Working Group members and the individual (or team) with the lowest score (i.e., smallest difference in importance and impact ranking) wins the game...and a prize!

## Slide 3
Strategy Game Handout Materials
Copyright 2024 – ASHRAE
Strategy Game Scoring Sheet
Strategy Game Practice Definitions
Notes: At the beginning of the session, pass out one copy of the scoring sheet and the decarbonization practice definitions to each participant Slide 2 is an overview of the game and slide 3 shows the two handouts. Slide 4 is the transition to the game.
IMPORTANT – DO NOT distribute copies of the slides to the game participants prior to the session as the presentation includes the answers for the game. The game objective is to guess the relative ranking of each driver or practice in each section, and they are reviewed after every participant (or team) has recorded their guesses on their scoring sheet.

## Slide 4
Let the Games Begin...
Building Decarbonization Strategy Game

## Slide 5
Reduce operational greenhouse gas emissions
Reduce embodied carbon in building materials and equipment
Reduce fossil fuel use in buildings
Increase use of zero carbon renewable energy
Increase facility resilience to climate change impacts
Environmental Decarbonization Drivers
Note: Record your ranking (1-5) in the first column of the scoring sheet – no tied rankings please!
Copyright 2024 – ASHRAE
Notes: Slide 5 lists the first set of five industry drivers. The participants (or teams) rank these environmental drivers from highest (1) to lowest (5) in terms of the relative importance to the buildings industry as a whole. The facilitator should mention that the ranking is not based on the relative importance to the participant, the participant’s organization or to ASHRAE but instead to the buildings industry as a whole.

## Slide 6
Your score is the absolute difference
between your answer and the TFBD answer
Driver #1
Driver #2
Driver #3
Driver #4
Driver #5
Your
Answers
TFBD
Answers
Your
Score
1
2
4
5
3
1
3
2
4
5
0
1
2
1
2
Note: Record the TFBD rankings in the scoring sheet and compute your score. Your score is always a positive number or zero
Copyright 2024 – ASHRAE
Notes: Slide 6 shows how to record your (individual or team) ranking on the scoring sheet.

## Slide 7: And the TFBD ranking is...
Copyright 2024 – ASHRAE
Notes: Slide 7 shows the relative importance of the drivers from the TFBD survey and their relative ranking based on importance. It is important to mention that the TFBD survey results do not necessarily represent the “correct answers” but instead provide a proxy indication of industry consensus. The survey results provide the basis for the Family Feud TV show’s “survey says...” scoring approach. It is also good to mention that there is sometimes a relatively small difference in the relative importance rating (1-5 scale) between consecutively ranked drivers. This strategy game is an educational exercise, and not the presentation of scientific research, and the survey results should be viewed from that perspective.

## Slide 8
Maintain building occupant comfort, health and safety
Reduce building lifecycle costs
Increase building asset value
Maintain compliance with government regulations
Support sustainability goals and commitments
Organizational Decarbonization Drivers
Copyright 2024 – ASHRAE
Notes: Slides 8 and 9 include the last set of industry drivers, which are organizational in nature.

## Slide 9: And the TFBD ranking is...
Copyright 2024 – ASHRAE

## Slide 10: Building Decarbonization Practices
Project Planning
  Decarbonization audit; policy and regulation review; financial incentives review; emission reduction roadmap; facility capital planning
Project Development
  Integrated project delivery; building energy modeling; life-cycle cost analysis; building life-cycle emissions assessment; building information management
Construction and Renovation
  Building material reuse; Prefabrication and modular construction; Low carbon building materials; low-GWP refrigerants; construction material waste reduction
Copyright 2024 – ASHRAE
Notes: Slide 10 introduces the first set of building decarbonization practices which relate to Project Planning; Project Development; and Construction and Renovation.

## Slide 11
Building Decarbonization Audit - On-site technical assessment and project investment analysis of opportunities for building decarbonization improvements, including energy efficiency; beneficial electrification; building operations; and on-site renewable energy
Policy & Regulation Review - Evaluation of current and planned government policies and regulations that encourage building decarbonization, penalize poor building energy or emissions performance, or restrict building system replacements and improvements.
Financial Incentives Review - Evaluation of utility and government financial incentives and rebates to support investment in building decarbonization measures for new construction, building renovation, retrofit and replacement projects.
Emission Reduction Roadmap - Development of a short-term plan for implementing building decarbonization measures aligned with regulatory requirements, emission reduction targets and equipment replacement schedules.
Facility Capital Planning - A short-term plan that identifies future capital projects and equipment purchases, a projected schedule for implementation, any implementation dependencies and options for financing the plan.
Project Planning Practices
Note: Record your rankings (1-5)
Copyright 2024 – ASHRAE
Notes: Slide 11 includes the five project planning practices which participants (or teams) rank from highest (1) to lowest (5) in terms of the relative impact on building decarbonization efforts and outcomes. The facilitator should mention that the ranking is not based on the relative impact of these practices on the participant’s individual activities, but instead to current and future building decarbonization activities for the industry as a whole.
It is recommended that the facilitator talk through the definitions of the first five or ten practices, providing some examples or clarification. After the first couple of practice categories, detailed explainations won’t be necessary and participants generally review the written definitions (on the slides or the definitions sheet) themselves or discuss them as a team. After each set of five practices, the participants record their ranking and the TFBD answers are shared.

## Slide 12: And the TFBD ranking is...
Copyright 2024 – ASHRAE

## Slide 13
Project Development Practices
Integrated Project Delivery - A new construction and building renovation design and delivery method that leverages the involvement of project participants and stakeholders through all phases of design, fabrication, construction, commissioning, and building operation.
Building Energy Modeling - A computer simulation of a building used to estimate building heating, cooling and process loads on an hourly basis and determine predicted energy and indoor environmental performance based on building system and equipment selection.
Life-Cycle Cost Analysis - A method for economic evaluation of the total costs and savings of alternative building and system designs for construction, renovation, and equipment replacements over the entire building life cycle.
Building Life-Cycle Emissions Assessment - A method that quantifies the environmental impact of a building throughout its entire life cycle, including aspects such as energy and water use, greenhouse gas emissions, habitat destruction, resource depletion, and toxic emissions.
Building Information Management - A process supported by various tools, technologies, processes, and policies involving the generation and management of digital representations of the physical and functional characteristics of facilities.
Copyright 2024 – ASHRAE

## Slide 14: And the TFBD ranking is...
Copyright 2024 – ASHRAE

## Slide 15
Construction and Renovation Practices
Building Material Reuse - Reuse of existing construction elements and materials without reprocessing and the repurposing existing building structures for new uses (adaptive reuse).
Prefabrication & Modular Construction - The manufacturing of building construction elements off-site and assembling them on-site, often through modular construction methods using standardized modules.
Low Carbon Building Materials - Materials used in construction with a low carbon footprint in terms of greenhouse gas emissions generated during their manufacturing, transportation, installation, maintenance, and disposal.
Low GWP Refrigerants - Refrigerants used in HVAC/R equipment with low relative global warming potential, such as natural refrigerants, hydrocarbons, hydrofluoroolefins (HFOs), and some hydrofluorocarbons (HFCs).
Construction Material Waste Reduction - Diverting construction and demolition materials from disposal by using recycled products, practicing source reduction, preserving existing structures, salvaging construction structures, and reusing existing materials.
Copyright 2024 – ASHRAE

## Slide 16: And the TFBD ranking is...
Copyright 2024 – ASHRAE

## Slide 17: Building Decarbonization Measures
Passive Efficiency
  Building thermal envelope; building fenestration; building shading; building surface reflectivity; natural ventilation and thermal management
Active Efficiency
  High-performance HVAC equipment; beneficial electrification; building management and control systems; lighting and plug-load management; water conservation
Copyright 2024 – ASHRAE

## Slide 18
Passive Efficiency Measures
Building Thermal Envelope - The design and selection of materials for a building’s physical barrier between the external environment and internal conditioned space to reduce energy consumption and improve building resiliency.
Building Fenestration - Proper design, selection, and installation of windows and skylights to minimize heating, cooling, and lighting energy use while improving comfort for building occupants.
Building Shading - The use of natural habitat or artificial devices to control the amount of sunlight entering a building, reducing its cooling requirements, and improving natural lighting quality.
Building Surface Reflectivity - The ability of a building’s surface to reflect sunlight and heat, reducing heat flow from the roof into the occupied space and improving comfort and safety in buildings without air conditioning.
Natural Ventilation and Thermal Management - The process of using natural forces of wind and thermal buoyancy to deliver fresh air into buildings to improve indoor environmental quality and reduce energy consumption.
Copyright 2024 – ASHRAE

## Slide 19: And the TFBD ranking is...
Copyright 2024 – ASHRAE

## Slide 20
Active Efficiency Measures
High Performance HVAC Equipment - Heating, ventilating, and air-conditioning systems designed to provide increased user thermal comfort, improved indoor environmental quality, and result in considerable energy, emissions, and operational cost savings.
Beneficial Electrification - Replacing fossil-fuel systems for space heating, water heating and cooking with highly efficient, cost-effective electric alternatives that reduce greenhouse gas emissions and minimize cost and reliability impacts on the electric grid.
Building Management and Control Systems - Computer-based systems installed to control and monitor a building’s electrical and mechanical systems and equipment, such as HVAC, lighting, energy management, fire safety, and security systems.
Lighting and Plug-load Management - Strategies and devices for automatic switching and dimming of general indoor and outdoor lighting and the control of plug loads such as computer monitors, task lighting, coffeemakers, and vending machines to reduce energy consumption.
Water Conservation - Reduction in water resources through the installation of high efficiency fixtures, elimination of leaks, water conserving cooling towers, smart irrigation systems, and other actions throughout the life of a building.
Copyright 2024 – ASHRAE

## Slide 21: And the TFBD ranking is...
Copyright 2024 – ASHRAE

## Slide 22: Building Decarbonization Measures
Facility Management
  Indoor air quality management; refrigerant management; integrated facility management; building retro-commissioning; building education and training
Distributed Energy Resources
  On-site renewable energy; energy storage systems; managed electric vehicle charging; demand flexibility; off-site renewable energy
Copyright 2024 – ASHRAE

## Slide 23
Facility Management Measures
Indoor Air Quality Management - Designing and operating building systems to provide a comfortable, safe, and healthy environment that reduces common pollutants both within and around buildings.
Refrigerant Management - The proper handling of high global warming potential refrigerants in HVAC/R equipment to control leakages and ensure their recovery, recycling, and destruction at the end of life.
Integrated Facility Management - The use of advanced technology, systems, and processes to optimize the operations and maintenance of buildings while enhancing sustainability, productivity, and tenant experiences.
Building Retro-commissioning - A systematic process applied to existing buildings that have never been properly commissioned to ensure that their systems can be operated and maintained according to the owner’s needs and functional requirements.
Building Education and Training - Providing people who occupy, maintain, and operate buildings with the information, tools and strategies needed to optimize the performance of the building’s systems and protect the health and comfort of the building’s occupants.
Copyright 2024 – ASHRAE

## Slide 24: And the TFBD ranking is...
Copyright 2024 – ASHRAE

## Slide 25
Distributed Energy Resource Measures
On-site Renewable Energy - Generating renewable energy on-site (solar, wind, hydro, biofuels) where the power is used.
Energy Storage - Use of technologies (thermal energy storage, battery electric storage) to store energy for later use powering electrical systems and devices or providing building heating and cooling.
Managed Electric Vehicle Charging - An adaptive method of electric vehicle charging to mitigate impacts on the electrical grid and minimize costs by controlling the time and power of charging.
Demand Flexibility - The capability for demand-side building loads to change their electricity consumption patterns by shaping, shedding, and shifting energy use on a short-term basis based on time-of-use energy pricing or utility requests.
Off-site Renewable Energy - The procurement of zero carbon electricity from off-site renewable energy projects or through renewable energy certificates, generally when sufficient on-site renewable generation is impractical.
Copyright 2024 – ASHRAE

## Slide 26: And the TFBD ranking is...
Copyright 2024 – ASHRAE

## Slide 27: And the winner is...
Add up your total points for a maximum score of 108
Raise your hand when your total score is called out...the LOWEST score wins!
Copyright 2024 – ASHRAE
Notes: After all 35 of the practices are ranked and the TFBD answers shared, slide 27 provides the participants with instructions on how to tally their score by adding up individual scores for the drivers and practices. The total should be an even number, if not there is a math error somewhere on the scoring sheet. The lowest score wins the game, which is generally in the 30 to 40 range. The facilitator can identify the winner by counting up from 0 until a participant (team) raises their hand. The maximum possible score is 108 and most ASHRAE participants score between 50 and 60. The game winner(s) should receive a prize. At the initial Tampa conference session, the winner received a Barbie Doll House scale split system heat pump made using a 3D printer.

## Slide 28: ASHRAE Training and Education Prioritization
Note: Select the 10 most important topics for ASHRAE training and education
Copyright 2024 – ASHRAE
Notes: As a final activity, slide 28 shows a table of all 35 building decarbonization practices and the participants are asked to identify up to ten (10) priority practices that should be the focus of future ASHRAE training courses and educational resources. These ten practices can be indicated in the last column of the scoring sheet. Participants should then be encouraged to indicate their industry role at the bottom of the scoring sheet (participant names aren’t necessary) so that ASHRAE can analyze the decarbonization training and education needs by industry role.

## Slide 29: ASHRAE Training and Education Priority Results
Highest Priority Medium Priority
Copyright 2024 – ASHRAE
Note: Results from 100’s of ASHRAE participants
Notes: Slide 29 shows high and medium priorities for ASHRAE training and education from 100’s of participants in the initial pilot strategy game sessions.

## Slide 30
Thanks for playing...