## Slide 2: Walt Vernon
Chief Executive Officer, Mazzetti Inc, San Francisco, California
Electrical Engineering and Mathematics Degrees from Vanderbilt University
30 years of experience in the research, planning, and design of healthcare facilities
Active involvement on committees that impact the codes and standards involved in the design of healthcare facilities, including ASHRAE SSPC 189.3

## Slide 3
Decarbonizing Healthcare

## Slide 4: “Boundary Issues”
In some ways, similar to other buildings
Unique regulatory and process needs
Organizational boundaries matter
New vs. Existing
Which gasses?
Which Scopes?
Which PART of which scopes?

## Slide 8
Why is Healthcare HARD?

## Slide 10: Context for Engineering in Healthcare in 2022
on)
Worst pandemic in 100 years
Urgent, wicked problems of changing climate
  Resilience
  Decarbonization
Intensely risk‐averse function (form follows? functi
Intensely broken industry (especially economics)

## Slide 11
11
Detrimental impacts due to:
Sicker patients
Higher expenses
Fewer outpatient visits
https://www.aha.org/guidesreports/2021‐09‐21‐financial‐effects‐covid‐19‐hospital‐outlook‐remainder‐2021

## Slide 12
0
1E+09
2E+09
3E+09
5E+09
6E+09
2012
2013
2014
2015
2016
2017
2018
2019
2020
2021
Capital projects.
4E+09 Operations
Behavior
Business as usual

## Slide 13: BASELINE
SHARK TANK
vs.
EUI
141
EUI
97

## Slide 16
Why is Healthcare READY?

## Slide 18
45% by 2030
100% by 2050

## Slide 21: US National Academies (NASEM)
Healthcare challenged to
REDUCE
It’s carbon emissions
BY 50%
By 2030

## Slide 22: US National Academies (NASEM)

## Slide 23: How can Healthcare DO IT?

## Slide 24: No more burning!

## Slide 27: Energy Reduction Opportunity

## Slide 28
Living Guidebook for Decarbonizing Healthcare

## Slide 31: Current State
Reheat
Heating Hot Water Domestic Hot Water
Humidification Sterilization

## Slide 32: Efficiency & Electrification
at
er
Rehe
Heating Hot Water Domestic Hot Wat
Humidification Sterilization

## Slide 33: Efficiency & Electrification
eat
r
er
Waste to Energy
Reh
Heating Hot Wate Domestic Hot Wat
Humidification Sterilization
Waste Heat

## Slide 34: Efficiency & Electrification
eat
r
er
Waste to Energy
NEC
Reh
Heating Hot Wate Domestic Hot Wat
Humidification Sterilization
Waste Heat

## Slide 35: Efficiency & Electrification
eat
r
er
RNG
Waste to Energy
NEC
Reh
Heating Hot Wate Domestic Hot Wat
Humidification Sterilization
Waste Heat

## Slide 36: Efficiency & Electrification
eat
r
er
RNG
Waste to Energy
NEC
Reh
Heating Hot Wate Domestic Hot Wat
Humidification Sterilization
Waste Heat

## Slide 37: Financing
eat
Reh
Heating Hot Wate Domestic Hot Wat
r
er
Humidification Sterilization
RNG
Waste Heat
IRA +
Utility + State + Grants
REC’s
Offsets RNG $
Waste to Energy

## Slide 38
38

## Slide 39: After recent NEC/NFPA
meetings, microgrids will very likely be adopted into the 2023 code.
− From a code committee member

## Slide 40: The Energy Evolution – Part 1

## Slide 42: Microgrids

## Slide 43: Hospital Load Profiles (Average)
Mean Hourly Loads by Day of Week for Health
Average Whole‐Building Load Shapes for Health: Coastal Region

## Slide 44: Microgrids vs Single Source Renewables

## Slide 45: Sources of Microgrid Cost
Technology dependent: solar, fuel cell, wind, hydrogen, battery (type), controls
Regulatory requirements: CMS, State, local
Space constraints: Limited footprint for solar, batteries (unless new facility)

## Slide 46: Microgrids

## Slide 50
50
ashrae.org/techhour