STANDARDS COMMITTEE

MINUTES

ASHRAE Fall Conference Call

September 14, 2018

Approved by Standards Committee January 12, 2019

TABLE OF CONTENTS

1.  Call to Order and Introductions	3

2.  Adoption of the Agenda	3

3.  Chair’s Report	3

5. Sr. MOS  Report	4

6.  Approval of Minutes	4

7.  Review of Action Items	4

8.  Publication Drafts	4

9.  SPLS Report	5

10. PPIS Report	6

11.  SRS Report	9

13.  ILS/ISAS Report	9

22.  New Business/Information Items	10

23.  Next Meeting/Closing Items	10

24.  Adjournment	10

25.  Attachments	11

Standards Committee Action Items

As of September 14, 2018

Updated Items Noted in Red

| September 14, 2018 Fall Meeting |
| --- |
| AI# | Action Item | Assigned | Status |
| 1 | An action item was assigned to SSPC 300 modify Standard 202 TPS to clearly identify that retro-commissioning of existing buildings is outside the scope of the standard. | SSPC 300 | Open |
| 2 | An action item was assigned to SPLS to not approve a first public review of this newly proposed standard [Commissioning Process for Existing Systems and Assemblies] if a revised Standard 202 TPS has not yet been approved for public review by the ASHRAE Board of Directors or its designee. | SPLS | Open |
| June 2018 Houston Annual Meeting |
| AI# | Action Item | Assigned | Status |
| 1 | PPIS to improve the language in the Guide to PASA regarding letter ballots, citing best practice to discuss an upcoming motion during a meeting or conference call prior to issuing a related letter ballot | PPIS | Open |
| 2 | PPIS and staff to add language to the PC Guide to PASA regarding a pathway for PCs to request an exception to the requirement that standards be written in mandatory language | PPIS and staff | Open |
| 3 | Staff to work with ANSI ISO Staff and SSPC 34 to develop a way to have one standard similar to the process used by SSPC 135. | Staff | Open |
| 4 | PPIS to review and expand the term “designated reviewer” (DR) to include others beyond DRs as reviewers and to bring a recommendation to the next StdC meeting | PPIS | Open |

# 1.  Call to Order and Introductions

The Standards Committee Fall Conference Call was called to order on September 14, 2018 at 11:00 AM ET.

Introductions

Members of the committee, staff and guests were greeted.  The attendees were as follows:

| Members Present Donald Brundage, Chair Wayne Stoppelmoor Charles Barnaby Niels Bidstrup Robert Burkhead Michael Corbat Drury Crawley Julie Ferguson Walter Grondzik Vinod Gupta Susanna Hanson Roger Hedrick Rick Heiden Jonathan Humble Kwang Woo Kim Larry Kouma Lee Millies Karl Peterman Erick Phelps Lawrence Schoen Richard Swierczyna Adrienne Thomle Larry Markel, ExO | Members Not Present Els Baert Dave Robin Dennis Stanke Michael Gallagher Rusty Tharp Craig Wray Staff Present Steve Ferguson, Senior Manager of Standards* Susan LeBlanc, Standards Administrator Tanisha Meyers-Lisle, Procedures Administrator Lilas Pratt, Mgr. Special Projects Stephanie Reiniche, Dir. Technology Ryan Shanley, Asst. MOS-SA Guests Present Jay Enck Rick Hall Phil Johnson Margaret Mathison Paul Torcellini |
| --- | --- |

# 2.  Adoption of the Agenda

StdC Chair Don Brundage welcomed StdC members, staff and guests and briefly reviewed the ASHRAE Code of Ethics and Anti-Trust Guidelines. Mr. Brundage noted the addition of a new business item included on the agenda.

# 3.  Chair’s Report

No report.

# 5. Sr. MOS  Report

Mr. Steve Ferguson updated StdC on several items:

- The Appeal Panel met at ASHRAE headquarters to on August 22, 2018 to hear the appeal submitted by Mr. Travis English on standard 170n. The Appeals Panel denied the appeal and directed SSPC 170 to publish addenda 170o and 170q prior to releasing addendum 170n for publication.

- Four appeals were received on Addendum 62.2 n from Mr. Gregg Achman, Mr. Frank Stanonik, Mr. Don Denton, and Mr. David Delaquila. The Appeals Panel has scheduled face to face hearings on November 1-2, 2018.

- Two motions remaining from the Houston meeting are on the agenda for StdC approval regarding funding international travel for FY 2018-2019 and the related process for funds distribution. Mr. Ferguson updated StdC members that TechC approved $30,000 of the $100,000 initial request for FY 2017-2018.

- TechC endorsed StdC’s request to endorse the conversion efforts ISO 817 and ASHRAE Standard 34 and assigned an action item to staff to work with ANSI ISO staff and SSPC 34 to develop a way to have one standard similar to the process used by SSPC 135.

# 6.  Approval of Minutes

It was moved by Mike Gallagher and seconded by Dru Crawley:

1	That the StdC Houston 2018 Annual Meeting Minutes be approved as presented.

MOTION PASSED.  13-0-4 Chair not Voting (CNV)

# 7.  Review of Action Items

See the updated status of Action Items beginning on page 2.

# 8.  Publication Drafts

It was moved by Dru Crawley and seconded by Jonathan Humble:

2 	That the following be approved by consent agenda for publication:

- BSR/ASHRAE Addendum b to ANSI/ASHRAE Standard 62.1-2016, Ventilation for Acceptable Indoor Air Quality

- BSR/ASHRAE Addendum k to ANSI/ASHRAE Standard 62.1-2016, Ventilation for Acceptable Indoor Air Quality

MOTION PASSED. 17-0-0, CNV

It was moved by Dru Crawley and seconded by Wayne Stoppelmoor:

3 	That the following be approved by consent agenda for publication:

- BSR/ASHRAE/IES Addendum z to ANSI/ASHRAE/IES Standard 90.1-2016, Energy Standard for Buildings Except Low-Rise Residential Buildings

- BSR/ASHRAE/IES Addendum ap to ANSI/ASHRAE/IES Standard 90.1-2016, Energy Standard for Buildings Except Low-Rise Residential Buildings

- BSR/ASHRAE/IES Addendum aq to ANSI/ASHRAE/IES Standard 90.1-2016, Energy Standard for Buildings Except Low-Rise Residential Buildings

- BSR/ASHRAE/IES Addendum ar to ANSI/ASHRAE/IES Standard 90.1-2016, Energy Standard for Buildings Except Low-Rise Residential Buildings

MOTION PASSED. 15-0-2, CNV

It was moved by Dru Crawley and seconded by Wayne Stoppelmoor:

4 	That BSR/ASHRAE Addendum d to ANSI/ASHRAE Standard 15-2016, Safety Standard for Refrigeration Systems, be approved for publication.

MOTION PASSED. 19-0-0, CNV

It was moved by Dru Crawley and seconded by Mike Gallagher:

5 	That BSR/ASHRAE Addendum h to ANSI/ASHRAE Standard 15-2016, Safety Standard for Refrigeration Systems, be approved for publication contingent upon receiving confirmation in writing that 
 there are no unresolved objectors.

MOTION PASSED. 19-0-0, CNV

It was moved by Dru Crawley and seconded by Wayne Stoppelmoor:

6 	That BSR/ASHRAE/IES Addendum q to ANSI/ASHRAE/IES Standard 90.1-2016, Energy Standard for Buildings Except Low-Rise Residential Buildings, be approved for publication.

MOTION PASSED. 15-0-2, CNV

It was moved by Dru Crawley and seconded by Mike Gallagher:

7 	That BSR/ASHRAE/IES Addendum s to ANSI/ASHRAE/IES Standard 90.1-2016, Energy Standard for Buildings Except Low-Rise Residential Buildings, be approved for publication.

MOTION PASSED. 15-0-2, CNV

# 9.  SPLS Report

The SPLS Report was presented by SPLS Chair, Dru Crawley.  For more information regarding this report please see Attachment A.

It was moved by Dru Crawley:

8	That the proposed revisions to the TPS for SPC 84, Method of Testing Air-to-Air Heat/Energy Exchangers, be approved as shown in Attachment B.

MOTION PASSED.   19-0-0, CNV

It was moved by Dru Crawley:

9 	That the proposed revisions to the TPS for SSPC 62.1, Ventilation for Acceptable Indoor Air Quality, be approved as shown in Attachment C.

MOTION PASSED.   17-0-2, CNV

# 10. PPIS Report

PPIS Chair, Johnathan Humble, presented the PPIS report. For more information, please see Attachment D.

It was moved by Johnathan Humble:

10	That the following Title, Purpose and Scope (TPS) be approved and that a new Standard Project Committee be formed:

TITLE: Methods for Performance Testing Positive Displacement Refrigerant

Compressors and Compressor Units

1. PURPOSE:

This standard prescribes methods for performance testing positive displacement refrigerant compressors and compressor units including capacity, isentropic efficiency and volumetric efficiency.

2. SCOPE:

1. This standard applies to methods for performance testing single-stage and multi-stage positive displacement refrigerant compressors and compressor units.

2. This standard applies to compressors and compressor units which either (a) do not have intermediate cooling or refrigerant injection, or (b) do have intermediate cooling or refrigerant injection and the power required for intermediate cooling or refrigerant injection, if any, is included in the measured total input power to the compressor or compressor unit.

MOTION PASSED.   20-0-0, CNV

It was moved by Johnathan Humble:

11	That the following Title, Purpose and Scope (TPS) be approved and that SSPC 41 be assigned as the consensus body.

TITLE: Standard Methods for Fuel Heating Value Measurements

PURPOSE: This standard provides methods for determining fuel heating values.

SCOPE: This standard applies to fuel heating values for use in testing heating, ventilating, air-conditioning, and refrigeration systems and components under laboratory and field conditions.

MOTION PASSED. 19-0-0 CNV

It was moved by Johnathan Humble:

12	That the following Title, Purpose and Scope (TPS) be approved and that a new Standard Project Committee be formed:

TITLE: Standard Method of Determining Zero Energy Building Performance in Operating

Buildings

PURPOSE: This standard provides methods for determining and reporting if building or group of buildings is zero energy.

SCOPE:

2.1 This standard covers:

- Existing buildings, groups of existing buildings or portions of existing buildings;

- Determination, including calculation methodology, and expression of the building(s) zero energy status

2.2 The provisions of this standard do not apply to:

- Establishment of building energy performance goals or limits

- Design guidance or design requirements

- Embodied energy of building materials and systems

- Transportation to and from a building including services, commuting and business travel.

2.3 This standard does not provide Source Energy Factors, but does include methods for use of such factors.

2.4. This standard shall not be used to circumvent any safety, health, or environmental requirements.

MOTION FAILED. 5-11-0 CNV

It was moved by Johnathan Humble:

13	That the following Title, Purpose and Scope (TPS) be approved and that a new Standard Project Committee be formed:

It is recommended that the following Title, Purpose and Scope (TPS) be approved and that a new project be assigned to SSPC 300 contingent on the following:

Standards Committee assign the two following action items if they approve this new project.

Recommended Action Item 1: SSPC 300 must make a modification to the Standard 202 TPS to clearly identify that retro-commissioning of existing buildings is outside the scope of the standard.

Recommended Action Item 2: SPLS must not approve a first public review of this newly proposed standard if a revised TPS has not yet been approved for public review by the ASHRAE Board of Directors or its designee

TITLE: Commissioning Process for Existing Systems and Assemblies

- PURPOSE: The purpose is to identify the minimum acceptable Commissioning Process for existing buildings and systems.

- SCOPE: This standard provides procedures, methods, and documentation requirements for each commissioning activity from planning to assessment, investigation, implementation, hand-off, and initial ongoing commissioning including:

  - overview of existing building commissioning process activities,

  - description of minimum activities for each process step,

  - minimum documentation requirements for each process step.

MOTION PASSED.   15-0-1, CNV

- An action item was assigned to SSPC 300 modify Standard 202 TPS to clearly identify that retro-commissioning of existing buildings is outside the scope of the standard.

- An action item was assigned to SPLS to not approve a first public review of this newly proposed standard if a revised TPS has not yet been approved for public review by the ASHRAE Board of Directors or its designee.

It was moved by Johnathan Humble:

14	That Standards Committee Reference Manual, Section 8.10 Qualifications and Travel Costs be approved as shown in Attachment E.

MOTION PASSED.   16-0-0, CNV

# 11.  SRS Report

Wayne Stoppelmoor presented the SRS Report. For more information please refer to Attachment F.

It was moved by Wayne Stoppelmoor:

15	That ANSI/ASHRAE Standard 40-2014, Method of Testing for Rating Heat Operated Unitary Air-Conditioning and Heat-Pump Equipment, be approved for revision and a revision project committee be formed.

MOTION PASSED.   16-0-0, CNV

It was moved by Wayne Stoppelmoor:

16	That ANSI/ASHRAE Standard 110-2016, Method of Testing Performance of Laboratory Fume Hoods, be approved for revision and a revision project committee be formed.

MOTION PASSED.   16-0-0, CNV

# 13.  ILS/ISAS Report

ILS/ISAS Chair, Mike Corbat presented a motion to approve travel funds remaining from the ILS/ISAS Houston Report. For more information regarding this report please see Attachment F.

It was moved by Mike Corbat:

17	That Standards Committee recommend to Tech Council that a line item of $135,000 to the annual 2019 – 2020 Society budget for reimbursement of travel by ASHRAE participants to international standards development meetings.

It was moved by Rick Heiden and seconded by Susanna Hanson:

17B	That a motion to amend to add “or partially funding ASHRAE staff position as standards liaison” be approved.

MOTION 17B TO AMEND FAILED.   6-8-0, CNV

MOTION 17 PASSED.   12-2-2, CNV

# 22.  New Business/Information Items

Secretary’s note: StdC briefly discussed the following motions, but due to a loss of quorum, Chair Brundage informed the committee that a letter ballot would be issued following the conference call. (Note: final votes will be reported below.)

- SSPC 161 request for a waiver to the mandatory language requirement be granted for the next published edition of Standard 161, Air Quality within Commercial Aircraft

- Request that ASHRAE restore commit an additional $23,000 for Fiscal Year 2018-2019 that was not carried over from FY 2017-2018 for the development of a User Manual for Standard 100

# 23.  Next Meeting/Closing Items

Next Meeting:

- ASHRAE Atlanta 2019 Winter Meeting – January 12 & 16, 2019

# 24.  Adjournment

The Standards Committee meeting adjourned at approximately 2:40 pm ET.

25.  Attachments

Attachment A

Attachment B

Attachment C

Attachment D

Attachment E

Attachment F

Attachment G

# Footnotes

Bob Burkhead, Larry Schoen and Adrienne Thomle abstained because they did not attend the meeting.

Jonathan Humble and Wayne Stoppelmoor abstained because they are members of the SSPC.

Jonathan Humble and Wayne Stoppelmoor abstained because they are members of the SSPC.

Jonathan Humble and Wayne Stoppelmoor abstained because they are members of the SSPC.

Roger Hedrick and Larry Schoen abstained because they are members of the SSPC.

Reasons for no votes:

Chip Barnaby - My concern is overlapping scope with 105.  The possibility of augmenting the 105 TPS should be explored.  If that exploration concludes that combining is not practical, the reasons for maintaining multiple efforts will be better understood and that can lead to more precise language for the new TPS (and perhaps 105 TPS refinements).

Michael Corbat - Too many potential overlaps with Standard 105 that need to be resolved before formalizing TPS.

Dru Crawley - I voted no because there is substantial overlap with TPS of Std 105R, which should be resolved -- either limiting scope of proposed TPS or extending scope of 105R.

Walter Grondzik -

The reason for my "no" vote on this motion is:  I have serious reservations about the use of the term "zero energy" -- which I believe to be inaccurate and potentially deceptive

Jonathan Humble - As chair of PPIS I have changed my position was to grant of this TPS and creation of a standards committee. While the thought that the presenters of the TPS should be given time to further proceed with the understanding that coordination would take place with SSPC 105 and SSPC 100, the comments by the attendees convinced me to reconsider that decision, as follows:

The comments by the predominant number of Standard Committee members that similarities/overlap and differences need further discussion between SSPC 105 “Standard Methods of Determining, Expressing, and Comparing Building Energy Performance and Greenhouse Gas Emissions”, Standard 100 “Energy Efficiency in Existing Buildings” and supporters of this TPS. This in order determine if there is a preference to either combine their efforts into a single SSPC, or better differentiate the new TPS from SSPC 105 and 100, and then approach the Standards Committee with the recommendation.

If wishing to continue with a new TPS and new standards committee, the following:

To better differentiate, or coordinate with SSPC 100 and SSPC 105, a purpose and scope that better delineates this new TPS from the other two standards,

To better define, or modify, or elaborate, what the physical focus of the scope is in Section 2.1(b) in terms of what “determination” means or is intended to mean.

To better define, or modify, what constitutes “status” in Section 2.1(b).

To determine if the scope should be modified to address or better elaborate “on-site sources” and “off-site sources” of energy.

Julie Ferguson - Site verses source confusion and coordination with other standards.

Lee Millies - My No vote reason was the same as the others, the source v site engineering confusion and the coordination with other standards.

Erick Phelps - PPIS motion #3 – I vote NO because the TPS of the new proposed committee seems to overlap with the TPS of existing standard 105.

Larry Schoen - Needs to be coordinated with other ASHRAE Standards that address building performance.  Consider convincing existing committees, such as 105 to expand their scope. The latter is my preferred outcome.

Site / Source:  Right now it says that the Standard will allow for their use, but not provide them. Does it include how to get them? Clarify whether requirements for the factors, where to find them or how to calculate them will be covered.

Pass/Fail or %?:  Is the intention to give a % achievement of zero or just an indication of whether zero has been achieved or not?

Renewable energy:  Is the scope of the Std to include renewable energy counted against energy use?  Will it consider off site generation at all? Will it include purchased energy credits for off-site generation?  Does a group of buildings mean they must be on the same campus, or is it your intention to include an entire real estate portfolio?

For reference, here are some definitions from:
https://www.energy.gov/sites/prod/files/2015/09/f26/bto_common_definition_zero_energy_buildings_093015.pdf:

Zero Energy Building (ZEB) An energy-efficient building where, on a source energy basis, the actual annual delivered energy is less than or equal to the on-site renewable exported energy.

Zero Energy Campus An energy-efficient campus where, on a source energy basis, the actual annual delivered energy is less than or equal to the on-site renewable exported energy.

Zero Energy Portfolio An energy-efficient portfolio where, on a source energy basis, the actual annual delivered energy is less than or equal to the on-site renewable exported energy.

Zero Energy Community An energy-efficient community where, on a source energy basis, the actual annual delivered energy is less than or equal to the on-site renewable exported energy

Richard Swierczyna -

TPS needs to better address issues, conflicts and duplication among similar standards such as Std 105.

Adrienne Thomle - Reason for my no vote on TPS for Zero Energy standard is the similarity to Std 105 and would like the committee to determine if the zero energy method can be included in std 105. And I would like to make sure the Site vs. Source is consistent with all ASHRAE standards.

Walter Grondzik abstained because is a member of the SSPC.

Chi Barnaby, Dru Crawley, Walter Grondzik, Johnathan Humble, Lee Millies, Erick Phelps, Richard Swierczyna and Adrienne Thomle voted against the motion to amend because they felt the motion should be voted up or down as moved and requested by ILS/ISAS.

Susanna Hanson voted no stating,” My reason for negative vote on the $135K travel request is because I feel it implicitly endorses the notion that ASHRAE members are served by ISO taking over (losing competition from ASHRAE) internationally relevant Standards development. The process at ISO is one country one vote and does not follow the ANSI or ASHRAE process, nor the attention to the committee composition balance that this Standards committee is tasked to oversee. I also don’t think we/ASHRAE should enthusiastically participate in ISO unless and until they recognize ASHRAE as an international Standards development organization. If this goes through I hope that our process would recognize the need for balance in the travel request approvals – that is, we would prioritize using such funds for individuals who present the breadth of interests within ASHRAE that would otherwise be silent. Alternatively, fund participation at ISO by people who are not paid by other interested parties – including by earmarks passed through ASHRAE for the appearance of impartiality. Does ASHRAE pay for one of its volunteers to travel to testify on behalf of/as a representative of ASHRAE at the ICC hearings?”
Rick Heiden voted no stating; “My reason for negative vote is that I believe a staff standards position located in Brussels will be more effective at facilitating ASHRAE’s objectives of becoming a global standards authority.  This person in this position would have the full support of the existing ASHRAE staff and membership and being located in Europe be more culturally integrated and more apt to broadly involve themselves in European standards activity.”

Walter Grondzik abstained due to a potential for conflict of interest. Larry Schoen abstained without reason.