## MasterSpeakerReportOnlySchedule
Session Type | Session Number | Session Title | Session Learning Objectives
Conference Paper Session | 1 | Building Modeling Research | • Describe calibration and prediction with uncertainties using Bayesian inference • Explain the BIR-BEM auto-calibration platform and how to use it • Explain how the EMPD algorithm can be used inside OpenStudio • Describe challenges in modeling mass timber buildings
Conference Paper Session | 2 | COVID and Healthcare | • Describe the importance of indoor airflow patterns on the transmission of airborne pathogens • Explain how CFD analysis can help in optimizing the HVAC layout for upper room UVGI applications. • Describe the clinical and environmental results associated with complete remediation of airborne pathogens and fungal VOCs in a hospital setting • Describe the clinical and environmental results associated with complete remediation of airborne pathogens and VOCs in a long term care setting
Conference Paper Session | 3 | Professional Development: Engineering, Architecture and Project Management | • Describe the philosophical roles and responsibilities of an engineer and the challenges from the current model of engineering progression • Design a lighting course that combines simulation and Virtual Reality (VR) tools to assess architectural spaces • Apply the Decision Matrix beyond IPD projects in their own project decision making processes • Integrate project teams in full-party high-value decision making to deliver better quality solutions for their clients by making process driven optimized decisions
Conference Paper Session | 4 | Airflow and Ventilation Research | • Understand how detailed CFD can be used to determine flow resistance characteristics for data-center-level CFD • Explain how well-known empirical (handbook) correlations and manufacturer's test data may not be very accurate
Conference Paper Session | 5 | Cold Climate Design | • Explain the challenges related to indoor air quality in rural Alaskan homes • Assess the carbon reduction benefits from deploying a heat pump heating system • Explain why moisture condensation in roofs of natatorium is an issue in cold climates • Explain how by opting for simpler plant systems, the thermal energy demand intensity targets were achieved and to describe the additional benefits
Conference Paper Session | 6 | Building Load Research | • Describe the benefits of combined optimization of HVAC and AIS controls compared to a case with optimized HVAC-only control • Compare and contrast two mechanisms for charging building thermal mass • Explain whether or not the COVID-19 pandemic changed the way we use appliances • Identify which appliance usage was affected the most during the pandemic
Conference Paper Session | 7 | Sensors and Airflow Controls: Making Buildings Smarter through Data and Controls | • Describe a test to determine barrier effectivness • Explain why space pressurization is key for preventing airborne transmission of pathogens • Describe a case of saving cooling energy in factory buildings by performing artificial neural network-based MPC • Describe the concept of sensor threshold marginal cost for fault detection and diagnostics purpose
Conference Paper Session | 8 | Refrigerants and HX Research | • Quantify the potential CO2 saving from replacing R134a with R1234yf • Conduct LCCP analysis for further R1234yf cycle modifications to save more CO2 emissions • Describe how "smart control" works to improve efficiency of heat exchanger system • Provide an overview of testing heat exchanger testing in industry
Conference Paper Session | 10 | Demand Control and Codes | • Identify the potential risks to hospitals on the path to decarbonization, particularly the risk to resiliency posed by the electrification of all systems and a growing reliance on intermittent electric generation resources • Describe the impact modern energy codes have on the HDD balance point • Provide insights into choosing the suitable MPC formulation for a grid-interactive efficient building • Describe how MPC affects building demand flexibility
Conference Paper Session | 11 | Variable Airflow Solutions and Modeling for Heating, Ventilation and Air Conditioning Systems | • Determine the energy savings due to replacing PSC motors with ECM motors in series FPTUs • Define LCC analysis in HVAC design in new configuration air-cooled VAV system • Describe how to compare energy and cost saving in different climate zone based one LCC analysis • Define various VAV system configurations and their differences
Conference Paper Session | 12 | Decarbonization and Net Zero Solutions using HVAC | • Design high performance future proof buildings with stringent emissions targets and apply these concepts for energy efficiency in various city buildings • Describe how certain mechanical elements can be utilized to minimize operational energy consumption. • Describe new shock wave pressure exchanger technology that can provide significant energy savings for trans-critical CO2 refrigeration systems, especially in hotter climates • Explain key mechanisms creating exergy destruction in refrigeration systems and how to recover lost pressure energy and use it to reduce the energy consumption of the main compressor
Conference Paper Session | 14 | Solar-Powered Solutions for Supporting Building Operations | • Design and Model an Outdoor HVAC Duct exposed to Solar Radiation • Perform Integrated Ventilation and Noise Assessment • Identify what a Double Skin Facade integrating Semi-Transparent PV is. • Identify the role of selecting different flow strategies for the cavity of the DSF
Conference Paper Session | 16 | Occupants and Comfort in Buildings | • Compare different methods of thermal comfort analysis in the context of a BC building • Evaluate long-term thermal comfort by continuously monitoring zone air temperature sensor data • Develop or execute long-term thermal comfort evaluation application on Mortar testbed • Quantify the economic benefits of the occupancy sensing systems using NS, SIR, and DPB
Conference Paper Session | 17 | Residential Buildings: Case Studies, Data and Modeling | • Describe at least three factors that can be utilized to minimize total external static pressure • Describe how different ventilation systems and elevator/stairwell door air tightnesses impact infiltration in high rise multi-unit residential buildings • Describe recursive feature elimination as a feature selection algorithm • Describe the most important features for virtual energy audits based on ERS approach
Conference Paper Session | 18 | Moisture and Humidity Management in Commercial Buildings | • Understand the importance of and technologies that allow for the reduction of carbon emissions from controlled horticultural facilities • Identify key considerations to calculate HVAC loads and select equipment for indoor cannabis grow facilities • Explain the concept of multistage dehumidification • Explain the influence of temperature on dehumidifier
Conference Paper Session | 19 | Heat Pump Innovations for Building Applications | • Describe the technology challenges with water-to-water heat pumps using the Stirling refrigeration cycle • Identify the effects of operating parameters on heat transfer of CO2 flowing in a tri-partite brazed plate gas cooler • Identify the main components of a geothermal heat pump. • Describe energy use savings or penalties associated with different control schemes of grid-connected heat pump water heaters with and without advanced load up capability, during typical Florida summer weather conditions
Seminar | 1 | ASHRAE Conference Crash Course | • Explain ASHRAE's organizational structure • Identify ASHRAE's standing committees and technical committees. • Explain how to use the ASHRAE Conference Application • Identify ASHRAE Conference Social and Networking Events, and the opportunities available through the ASHRAE Learning Institute
Seminar | 2 | Reimagining the Old, Inventing the New: Tools and Strategies for Decarbonizing Buildings with District HVAC Systems Around the World | • Explain the role that heat networks (district heating) play in the decarbonisation agenda for the UK and other countries • Explain the basic concepts and benefits of Modelica language-based modeling • Identify opportunities in model-based optimization for district cooling systems • Utilize a BMS and other computerized asset management tools to decarbonize and optimize performance to reduce energy and water consumption
Seminar | 3 | Weather Modeling Tools for Buildings in a Changing Climate | • Explain the importance of future weather boundary conditions in climate driven resilience and efficiency analysis • Explain why a stochastic framework is needed to assess resilience versus efficiency combined assessments • Describe VCWG modeling paradigm and sub-modules: the rural, rural surface energy-water balance, building energy, surface energy-water balance, soil energy-water balance, vertical diffusion, and urban boundary layer models • Describe preparation of weather data as boundary and forcing conditions for BEMs: observed weather files, meso-scale models, and downscaling of climate models to produce weather files
Seminar | 4 | What Happened to our Hospitals after the COVID-19 Fiasco? HVAC Design, Control and Operation | • Describe the current codes and regulations that govern HVAC design for hospitals • Explain how more aggressive air change rates can assure a higher quality of infection control • Distinguish ways in which the building automation system can make HVAC systems more flexible and adaptive to control airborne infection • Explain how natural ventilation can not only enhance safety but enhance the healing environment
Seminar | 5 | Designing Control Systems for Net-Zero Energy Buildings and Communities | • Explain the current design process and the challenges that it introduces • Describe the co-design process, which is already being used in other industries • Evaluate how the co-design process can be utilized with net zero energy projects and the added challenges of looking not only at energy use, but also generation and storage • Describe case studies of actual projects and how the process can be applied
Seminar | 6 | IEQ and the Building Envelope: When Walls Talk | • Describe the topic of traditional IAQ areas which are increasingly being requested of manufacturers and will understand how the movement to full disclosure of materials of manufacture and protection of intellectual property conflict one another • Identify the ever-increasing life cycle considerations of materials in the built environment and healthy building design • Define and express the types of important measures involved in calculating building envelope performance • Explain the importance and reasons for the difference between the results simulated by the integrated model and the single models in the field of building envelope performance
Seminar | 7 | Artificial Intelligence for Environmental Modeling | • Explain ANN and how it works with CFD generated training data • Describe the main differences (positive and negative) between AI, CFD and wind tunnels when used for wind estimation in urban environments • Articulate the some of the cost benefits that are achievable from early-stage microclimate and wind studies and where ML/AI fits into the design cycle • Explain how the satellite-derived air quality data can be used with other data set to estimate the indoor air pollution levels
Seminar | 8 | Introduction to ASHRAE Global Occupant Behavior Database | • Describe occupant behavior in buildings • Explain various measurement techniques related with occupant behavior • Explain how occupant behavior impacts building energy consumption • Identify available data sets related with occupant behavior and building energy usages
Seminar | 9 | Load Calculations for the ASHRAE Headquarters Building: The Transition to the Heat Balance Method | • Describe the evolution of ASHRAE’s various loads calculation methods • Explain the technical nuances for ASHRAE’s most recent and recommended method, the Heat Balance (HB) Method • Identify the most important and most influential model inputs required in order to achieve accurate results using the Heat Balance (HB) Method • Contextualize how the Heat Balance (HB) Method is used in practice using the ASHRAE Headquarters Building as an example
Seminar | 10 | Smart Buildings as a Transactive Energy Hub: Decarbonizing by Enhancing Building-to-Grid Interactions | • Explain how utility programs are supporting better building to grid interactions • List several approaches to the design and implementation of enhanced energy related building control and integration solutions • Define the key principals of building system interoperability, integration and interaction • Explain the grid benefits buildings can provide using transactive systems
Seminar | 11 | Applying UV as Best Practices and Pandemic Preparedness to Address Air and Surfaces Disinfection within Buildings | • Apply the right UV strategy for specific applications. • Distinguish between HVAC coil mount and airstream duct mount UV disinfection. • Explain the safety protocols needed to safely operate a UV disinfection system. • Explain the difference methods for applying UV in occupied and unoccupied spaces.
Seminar | 12 | Building Envelopes as Distributed Energy Systems | • Describe concepts of active insulation systems and their energy savings potential and challenges of their application • Describe benefits and limitations of PCMs for their utilization in buildings • Explain thermal load management in buildings using PCMs • Identify passive thermal management solutions in Data Centers, Telecom shelters, and buildings
Seminar | 13 | Recent Advances in Data Center CFD simulation | • Explain why external flow analysis requires good engineering judgement to interpret the results • Explain how parallelization can dramatically speed-up CFD simulations • Explain the importance of pressure drop across perforated tiles in a full featured data center • Describe how to model a perforated tile when a raised-floor plenum is included in a CFD model
Seminar | 14 | The Importance of O&M to Energy Efficiency, Comfort, IAQ and Energy System Decarbonization | • Identify and adapt some of the evolving best practices for introducing concepts such as IAQ and decarbonization into a small facility • Describe the major technology presently at the forefront of electrification of heating in the Northeast and upper Midwest • Explain why communication and rapid resolution of HVAC hardware and building automation system problems are vital to keeping points out of "operator" mode • Maintain operations and maintenance documentation with the purpose of improving building comfort, IAQ, and energy efficiency
Seminar | 15 | Update on the Progress of the Task Force for Building Decarbonization | • Explain the Decarb process • Describe the Decarb Position document • Identify the Decarb BPS • Identify the 3 types of carbon
Seminar | 16 | Case Studies of Heat Reclaim from Refrigeration Applications | • Describe different methods by which heat reclaim / heat recovery can be implemented with refrigeration and heat pump systems • Explain how heat reclaim can improve the sustainability of a site and aid decarbonization goals • Identify opportunities for heat reclaim given the refrigeration and heating demand at a site • Identify and mitigate situations and configurations that may imped successful heat reclaim applications
Seminar | 17 | How to Select and Size HVAC Fans for Optimum Acoustical Performance | • Explain how to avoid selecting a noisy fan for a given application • Describe how the source path receiver model is used to estimate noise levels for occupied spaces • Specify the correct industry standard for a given type of air moving equipment • List options for fan noise mitigation
Seminar | 18 | Impacts on Occupants' Experience in Grid-Interactive Efficient Building Operations | • Explain how existing legacy air conditioners and heat pumps can be set up to provide peak electric demand reductions under time-of-use prices for electricity • Explain the tradeoffs between user's experience and energy performance in smart home operations • Explain how traditional comfort zone approaches to modeling occupant behavior fall short when used to model occupant overrides in demand response programs • Understand how occupant behavior impacts building operations while considering grid needs and flexibility
Seminar | 19 | Understanding and Analysis of Inter-Building Effects to Inform Decision Making on Urban Buildings | • Describe inter-building effects • Explain under what context the inter-building effects need to be considered • Identify methods (physics-based modeling and data-driven approaches) to quantify inter-building effects • Describe urban sensing technologies that provide measured data to help quantify inter-building effects
Seminar | 20 | Cybersecurity, Securing Building Control Systems: Are We Meeting Industry's Needs? | • Describe the strategies for ensuring cyber risk is reduced through risk management and mitigation • Recognize the security risks to Facility Related Control Systems and ways to mitigate them • Describe prescriptive and performance-based topics in Cybersecurity specifications • Identify standards, guidelines, and resources available to help with Cybersecurity specifications and system requirements
Seminar | 21 | Designing for Air Source Heat Pumps in Cold Climates | • Describe de-carbonisation strategies for your building • Describe design and operational awareness related to the implementation of an Air Source Heat Pump (ASHP) system in a cold climate • Display confidence in deploying solutions to possible challenges associated with alternative solutions • Explain the importance of facilities maintenance staff being trained in new technology
Seminar | 22 | From Rendering to Reality: Teaching Young Engineers to Design for Construction | • Provide an overview of the differences between design-build and design-bid-build project delivery methods • Describe the importance of relationships and communication between engineers and installers for constructible design and proper execution • Describe personal and professional development models to successfully onboard young engineers into the design-build process • Apply the strengths of the design-build delivery method to a traditional design-bid-build environment
Seminar | 23 | Using District Energy Ground Source Heat Pumps to Reach your Decarbonization Goals | • Identify opportunities in model-based optimization for the control of community energy system with heterogenous energy sources • Explain how to reduce overall carbon emissions of the connected load • Describe the design principle of net zero energy community • Provide a method for financing the large capital cost needed to convert a steam system to a hydronic GSHP system
Seminar | 24 | Facilitating Integrated Project Delivery for Energy Efficiency: A Canadian Case Study | • Increase buy-in to the approach of Integrated Project Delivery • Explain the difference in the roles between the engineer, architect, and client • Describe technical facilitation skills to deliver integrated design successfully • Describe how energy simulation can be utilized throughout the process
Seminar | 25 | Fundamentals of Division 25: Integrated Controls and Cyber Security | • Describe the intent of division 25 specifications. • Explain the benefits of division 25 specifications to a high performance building. • Describe Cybersecurity concepts. • Apply Cybersecurity best practices.
Seminar | 26 | Using Building Automation to Safely Return to Classrooms after COVID-19 | • Describe the current codes and regulations that govern HVAC design for higher education facilities. • Explain how more aggressive air change rates can assure a higher quality of infection control. • Distinguish ways in which the building automation system can make HVAC systems more flexible and adaptive to control airborne infection. • Explain the steps in achieving an HVAC Building Readiness Plan for ECiP and P-ECiP.
Seminar | 27 | Bayesian Optimization for Building and Equipment Applications | • Define Bayesian optimization and explain the distinction between Bayesian optimization and other optimization methods • Apply the use of Bayesian optimization for approximating complex cost functions • Provide examples demonstrating the use of Bayesian optimization in both buildings and equipment applications • Describe how Bayesian optimization can be used to improve closed-loop control methods for next-generation building systems
Seminar | 28 | COVID-19 IAQ: Building Readiness and Resiliency in the New Age | • Describe the similarities to the public perception of IAQ from the 1990s to COVID-19 IAQ today • Explain the ETF Core Recommendations • Explain how different mitigation options compare to one another • Explain how COVID has been spreading in buildings
Seminar | 29 | Deep Savings with ASHRAE Guideline 36: Demonstrations Today and Innovations for Tomorrow | • Summarize the energy savings opportunities with Guideline 36 • Describe various Guideline 36 implementation challenges and best practices • Provide an overview of efforts underway to support market adoption of Guideline 36 • Describe an approach to validate Guideline 36 programming logic
Seminar | 30 | The Solar Panel: Enabling Renewables' Grid Integration with Thermal Energy Storage Systems | • Explain how water heaters can provide demand side management to the grid. • Identify effects of load shifting on end-user electricity bills and the use of solar-self consumption. • Describe how a phase-change-material-based cool thermal energy storage system can be used to enable renewables on the electric grid. • Describe the pros and cons of behind-the-meter battery and thermal energy storage, and how to select the appropriate combination depending on the building load profile.
Seminar | 31 | Your Ethics Tool Box: Building a Framework for Ethical Decision-Making with Case Studies | • Explain why decisions to ethical issues are often "situational" • Explain why decisions to ethical questions may depend on the perspective of the decider • Explain an engineer's "priorities of loyalty" • Describe why lapses in proper ethical behavior can have long-reaching consequences
Seminar | 32 | Climate Change Issues for Decarbonization, IAQ and Sustainable Buildings | • Explain how climate change is worsening air quality and impacting health outcomes • Explain the need to think beyond air pollution when considering IAQ risk • Describe the key differences between the drivers that support climate-related mitigation and those that support climate-related adaptation. • Describe 2 possible solutions that help to address both decarbonization and climate-related resilience within the HVAC designers' influence
Seminar | 33 | The Future of Controls: Transition from Algorithmic to Predictive Control | • Describe MPC and how it is an effective solution for both control as well as predicting building behavior • Identify key issues to be further considered by the research community and industry • Explain how to use predictive control on current and future projects • Describe the research efforts underway to support new control technologies
Seminar | 34 | Thermal and Hydraulic Performance of Low GWP Refrigerants under Flow Condensation | • Explain how condensation heat transfer coefficients and pressure drops are measured • Describe how low GWP refrigerants’ flow condensation performances compares to R134a and R410A • Explain how correlations predict performance of new low GWP refrigerants • Review enhancement mechanisms of microfin tubes and how they can impact non-azeotropic condensation in horizontal tubes
Seminar | 35 | Indoor Environment, Thermal Comfort and Work Performance: Evidence, Models and Implications | • Describe the impact of climate on physical work capacity in terms of temperature, humidity, air speed and thermal radiation • Explain the effect of mask-wearing on thermal comfort and cognition • Describe the accuracy of the PMV/PPD model at the base of ASHRAE 55 • Define the impact of temperature on work performance
Seminar | 36 | Balancing Comfort, Energy and IAQ in Buildings: Examples from Real World Applications | • Provide a guideline for how CFD can be efficiently provide inputs to the ventilation system from concept to design to improve thermal comfort and IAQ while reducing energy consumption • Outline the CFD modeling requirements for DV from mesh to solver • Explain how a DV system can be designed an integrated into an architecturally complex space in a harsh climate • Describe the method of the co-simulation of CFD and EnergyPlus models
Seminar | 37 | COVID-19 and Indoor Air Filtration | • Describe the methods of airborne infectious disease transmission • Identify the basic principles of current technologies for the removal of COVID-19 particles • Define current performance standards for testing the air cleaners, and the effectiveness of air filter devices • Provide information that would help to stop the spread of COVID-19 particles
Seminar | 38 | Fundamentals of Climate Science, Part 1: History and Physics | • Explain how climate science has developed for 200 years • Elaborate on the basic principals of black body radiation and the green house gas effect • List the major earth climate system feedbacks • Identify multiple strands of evidence that have made global warming an unequivocal scientific result
Seminar | 39 | A Tool to Decarbonize Existing Buildings: An Overview of ASHRAE's Technical Resource Guide on Building Performance Standards | • Describe the key elements needed for a comprehensive Building Performance Standard • Explain the impacts of selecting different BPS metrics and provide an overview of different BPS target-setting methodologies • Explain how the BPS Technical Resource Guide for Policymakers can support jurisdictions in the development of BPS policies • Describe the impact of BPS on the practicing engineer and design team including the necessary technical knowledge for implementing BPS as described by the ASHRAE BPS Technical Guide.
Seminar | 40 | Chiller-Heater Systems Enabled by Compressors and Ice | • Define the functions, architecture and characteristics for chiller-heater system • Describe how the chiller-heater system operates and interacts buildings • Provide an overview of chiller-heater system equipment and their associated limitations • Apply the technologies and strategies in chiller-heater system to speed up the electrification of heating in buildings
Seminar | 41 | Optimizing Smart Building Operation with Machine Learning | • Describe machine learning and its potential application for smart building optimization • Compare the energy efficiency of ASHRAE Guideline 36 with that of the DRL-based control • Explain the potential of using machine learning for model predictive controls • Describe the difference between structured reinforcement learning and other RL approaches
Seminar | 42 | Turning Over a New Building Control System: Are You Smarter than a Fifth Grader? | • Identify challenges/reasons why it is so hard to make a BAS work during construction and commissioning. • Highlight owner's mitigation strategies that can be done following turnover of a project. • Understand how trade coordination and scheduling as well as quality across all disciplines leads to a better controls system rather than letting time and cost drive the project. • Describe the characteristics of simple versus complicated/complex/chaotic building systems and the characteristics of thorough commissioning seen for each type.
Seminar | 43 | Water Quality in Low Occupancy and Shutdown Buildings: Lessons Learned from COVID-19 Building Shutdowns | • Explain why there was widespread concern over stagnation in building plumbing systems during COVID lockdowns • Describe lessons learned from building water testing studies • Quantify the potential short- and long-term impact of shock chlorination, flushing and superheating on the prevalence of Legionella in hot water systems • Explain practical research needs to effectively apply plumbing recommissioning protocols
Seminar | 44 | Are all UV Wavelengths the Same: Emergence of Far UV and UV LEDs for Disinfection | • Explain the salient aspects of UVC LED and FAR UV (222 nm)technology • Distinguish the essential differences between conventional UVC technology using low pressure mercury lamps from UVC LEDS and Far UV excimer lamps • Design disinfection solutions using UVC LEDs and filtered Far UVC lamps • Determine optimal applications for the use of UVC LEDs and Far UVC technology
Seminar | 45 | Critical Ventilation in Critical Facilities: Demand Control Ventilation | • Identify key elements of a Smart Lab • Describe the barriers to sensor technologies in lab spaces • Compare the effectiveness of estimating the hazardous exposure risk of several common lab situations based on lab occupant activities and proximity to hazardous material • Compare absolute versus differential measurement of chemical concentration for effectiveness in reducing risk of hazardous exposure
Seminar | 46 | Securing BACnet Using Lessons and Techniques from the IT Industry | • Describe the importance of cybersecurity in commercial BAS control systems • Describe how BACnet/SC differs from BACnet/IP • Describe the management of future BACnet devices and systems under the Managed BACnet program • Describe the information that IT professionals need from BACnet systems to ensure cybersecurity compliance
Seminar | 47 | The ASHRAE Headquarters Building: Ensuring a Quality Occupant Experience while Working toward Net Zero Operation | • Describe the challenges of transitioning an effective design into effective and sustainable operations • Explain how technology can enhance building operations • Identify the critical design features that directly impact building operations • Define value creation opportunities associated with the inter-connectivity of the building technology systems
Seminar | 48 | Why You Shouldn't Lick Your Filter | • Describe how filters have been used to explore indoor concentrations • Calculate indoor concentrations from filter dust and HVAC data • Describe what can you learn about the air you breathe from your filter dust • List what air filters capture, including very large particles
Seminar | 50 | Design to Commissioning in Cleanrooms for Performance and Reliability | • Define the sequential steps to follow in designing a cleanroom • Apply the process for integrated commissioning to ensure cleanroom performance and reliability • Describe the shortcomings of room differential pressurization control and how to make corrective action to ensure stable space differential pressurization control • Explain the best practices to ensure cleanrooms are energy efficient and maintainable
Seminar | 51 | Thermal Energy Storage Solutions for Buildings: Materials to Applications | • Identify the difference between thermochemical and phase change storage materials for use with HVAC&R equipment • Describe the potential, limitations, and workability of Thermochemical Salt Hydrates as a thermal energy storage material for buildings • Explain the most important design parameters for efficient Latent Thermal Energy Storages • Identify the challenges in modeling and optimization of PCM-embedded heat exchangers
Seminar | 52 | Without Ventilation Effectiveness, Air Change per Hour Is Just a Number | • Describe how risk drives ventilation specifications such as air changes per hour • Explain how air tracers can be used to challenge and verify the effectiveness of ventilation systems to dilute and remove airborne contaminants under real-world conditions • Describe ISO 14644 Testing Requirements for Recovery Rates • Explain how CFD can be employed to estimate ventilation effectiveness
Workshop | 1 | Developing an ASHRAE Standard/Guideline to Assess the Performance of Occupancy Sensor Systems in Buildings | • Define the importance of occupancy sensors in residential and commercial buildings for use in achieving energy savings • Identify key variables that should be evaluated to assess the reliability of occupancy sensors • Discuss and critique the use of key metrics to evaluate occupancy sensor system performance (including both occupancy counting and presence sensors) • Identify a path forward to develop a standard/guideline for evaluating occupancy sensor system performance