## MasterSpeakerReportOnlySchedule
Program Number | Session Type | Session Date | Session Title | Session Learning Objectives
1 | AHR Expo Session | 2023-02-07 | Low GWP Refrigerant Advancements for Decarbonization Part 1 | • Provide examples of technical work that was necessary to adapt system components design to natural refrigerants • Describe the main elements to consider when considering a heat pump for cold climates • Explain the basic thermodynamic properties of the zeotropic blend R-474A • Describe the basic working principle of a CO2 ejector and understanding of a CO2 Supermarket system layout with multiple optional features
2 | AHR Expo Session | 2023-02-07 | Low GWP Refrigerant Advancements for Decarbonization Part 2 | • Explain strategies to design well-performing transcritical R744 systems • Explain potentials to increase energy efficiency across a wide range of conditions • Provide an overview of ultra low temp requirements for refrigerants • Describe numerical methods and imprtance of modeling for refrigerant/lubricant interaction
3 | AHR Expo Session | 2023-02-07 | Low GWP Refrigerant Advancements for Decarbonization Part 3 | • Describe the various refrigerant choices available for heaters, supermarkets and window AC units • Establish the factors that make a refrigerant ideal for use for heating • Explain safety limitations to the use of A3 natural refrigerants • Describe supply chain challenges associated with the A3 product development in developing countries
4 | AHR Expo Session | 2023-02-07 | Exploring Efficiencies of Decentralized DHW Systems in Hydronic Conditioned Multi-unit Buildings | • Describe a method to conserve mass and energy using decentralized domestic water systems. • Define domestic hot water distribution heat loss. • Describe the clustered configuration. • Explain the issues encountered with HPWHs in small closets.
1 | Paper Session | 2023-02-05 | Basics of Design, Test, Adjust, Balance and IOT Integration | • Define key building envelope performance considerations and understand their impact on occupant comfort and overall building performance • Provide an overview of HVAC systems and the TAB process • Explain the value of building performance data visualization in real-time for efficient Facility Management • Describe the challenges faced by Facility Management personnel in BIM integration of FM systems for visualization purposes
2 | Paper Session | 2023-02-05 | Decarbonization Solutions for the Residential Sector | • Describe how the Hyperloop Ground Source Heat Pump (HGSHP) system operates • Distinguish the difference between the Hyperloop Ground Source Heat Pump (HGSHP) system and a Vertical Ground Source Heat Pump (VGSHP), in terms of system efficiency • Provide an overview of different approaches to model buildings' thermal dynamics • Explain why platforms that facilitate building energy assessment at the early stages with minimum design information are useful for city planners
3 | Paper Session | 2023-02-05 | Modelling and Analysis | • Describe the main steps in the process of vibration analysis • Describe common issues during phase monitoring • Describe the advantages and limitations of the sub-wet bulb evaporative water chiller and polymer heat exchanger • Explain the system-level impacts of varying flow parameters on the combined performance of the chiller and heat exchanger
4 | Paper Session | 2023-02-05 | Moving Piped Natural Gas to a Low Carbon Future | • Describe the working principles of hydrogen microsensors • Explain the impact of hydrogen blending into tankless water heaters •Explain the practical impacts of blending hydrogen with natural gas on atmospheric burner operation •Define burner design characteristics that may limit or increase its compatibility with hydrogen
5 | Paper Session | 2023-02-05 | Advancements on Energy Recovery for Decarbonization | • Describe the advantages of using a in-pipe WWHX • Describe the significant role of local government (Local Authorities in UK) in pursuing decarbonisation options as presented in this study • Explain that continuous insulation may also be placed outward of the structure but inward of the moisture control layers • Describe the roles that thermal break isolation pads and closed cell spray foam play with the integrated wall assembly
6 | Paper Session | 2023-02-05 | Case Studies on Performance and Losses in Hydronic, VAV and Heat Pump Systems | • Describe how to measure losses from space heating hot water distribution systems in existing buildings • Explain the impact of dampers in VAV reheat systems on coil performance and discharge air temperature stratification • Describe how gas-fired engine-driven heat pump technologies achieve efficiencies over 100% • Describe benefits of gas-fired engine-driven heat pumps for cold climate operation
7 | Paper Session | 2023-02-05 | Advances in Refrigerants and Refrigeration | • Describe the selection challenges faced by air conditioning product designers when adopting flammable refrigerants • Identify requirements for retrofit operations from legacy higher global warming potential refrigerants to lower global warming potential alternatives. • Describe the main system architectures, refrigerants and applications of ULTR • Define advantages of different Commercial Refrigeration Architectures
8 | Paper Session | 2023-02-05 | Decarbonizing and Improving the Energy Efficiency of Residential Buildings | • Explain the complexities of decarbonizing residential liquid fuel heated homes • Explain that residential homes may not be able to use energy storage systems to simultaneously reduce their electricity bill and reduce carbon dioxide emissions from power generation plants • Explain several indicators to evaluate both environmental and economic performances of the building system • Identify the options available for efficient electrification of residential buildings in rural areas
9 | Paper Session | 2023-02-06 | Applications of HVAC&R Equipment | • Describe the types of AHU and It's working with Active Purification system • Provide an overview of the Active purification system over AQI and different Parameters • Compare operating performances according to climatic conditions of the economizer system • Describe the functions and control methods of the economizer system
10 | Paper Session | 2023-02-06 | Technologies Towards Zero Energy Emissions | • Identify factors that contribute to overall GHG emissions from heating electrification • Describe and compare the outcomes of heating electrification between a single-family home and a medium office commercial building • Define how to control the wind pressure around the building and increase natural ventilation potential. • Apply the new method into the building design to increase the potential of the natural ventilation.
11 | Paper Session | 2023-02-06 | Energy Integration in the Built Environment | • Integrate advanced micro-combined heat and power system with commercialized nano-/micro-grid systems • Design hydronic systems for thermal management controls to support mCHP and nano-/micro-grid integration • Provide a MPC framework to address building resilience against extreme weather • Define building resilience against extreme weather
12 | Paper Session | 2023-02-06 | Multifamily and Residential Buildings: Part 3 | • Describe Neural Network integration into Energy Plus that can predict occupant behavior (window Opening) and replace constant schedules • Explain machine learning strategies that can estimate the window opening and closing instances with very high accuracy and true positive rate •Describe the state of the art of electrostatic filters and how they perform •Explain how an electrostatic filter can operate at a variable voltage and how this impacts energy use
13 | Paper Session | 2023-02-06 | Multifamily and Residential Buildings: Part 2 | • Assess feasibility of domestic indoor air quality monitoring systems for their context • Describe differences between cooking and heating using different fuels on indoor air quality • Explain how occupancy control was developed for residential buildings • Explain how occupancy control could save energy
14 | Paper Session | 2023-02-06 | Thermal Comfort and IAQ in the Classroom
15 | Paper Session | 2023-02-07 | Operations and Maintenance Case Studies | • Develop a Hardware-in-the-Loop (HIL) testbed for testing and evaluating cyber-physical security of smart buildings • Describe electrochromic glazing impacts to thermal comfort and daylighting in an open office environment • Define the value of a post-occupancy evaluation (POE) to inform better design practices • Evaluate impact of air gap with phase change material integrated roof on thermal improvement of indoor space
16 | Paper Session | 2023-02-07 | What's New in Cleanrooms and Healthcare Facilities | • Improving air quality within an operating room without increasing ACH values • Describe how mechanical load and electrical loss components are calculated using network modeling of cooling and power delivery systems • Identify air-to-air energy recovery systems applicability in existing healthcare & life science installations • Discuss benefits and disadvantages of real-world air-to-air energy recovery system installations
17 | Paper Session | 2023-02-07 | Energy Clustering and Energy Recovery
18 | Paper Session | 2023-02-07 | Estimating and Satisfying Occupants' Needs Through Modelling and Learning | • Review and compare the existing OB models with respect to their inputs, algorithm, and outputs • Describe the main components of a reinforcement learning algorithm • Explain how to use reliable, data-efficient personalized thermal comfort models using limited data from individual occupants • Distinguish the benefits of Bayesian artificial neural network (ANN) approach for learning personal thermal preferences
19 | Paper Session | 2023-02-07 | Grid-Interactive Technologies | • Explain how cost can be saved by simultaneously considering resilience and sustainability of microgrid-building systems • Describe how a cost function is used to automate control decisions that include things like cost and GHG emissions • Describe the benefits of integrated energy system for high-efficiency HVAC and water heating applications • Explain the integration strategies for power and thermal management for mCHP and nano-grid systems
20 | Paper Session | 2023-02-07 | Simulation and Measurement of Advanced HVAC&R Systems | • Describe how to assess the performance of air conditioners • Describe how the airflow parallelism affect the cleanroom operation especially in the semiconductor field • Design how to improve cleanroom design on the airflow parallelism or uniformity • Distinguish the different approaches to oil recovery in CO2 DX and flooded systems
21 | Paper Session | 2023-02-08 | Building Simulation and Virtual Design | • Explain how modifying zone setpoints can improve energy performance while maintaining occupant comfort • Describe the methodology to use CFD to design building spaces for good indoor air quality • Explain how machine learning techniques can be applied in building control optimization problems • Describe how the model predictive control (MPC) outperforms the rule-based control in multi-objective optimization problems
22 | Paper Session | 2023-02-08 | Pathways to Net Zero Carbon | • Describe relationship of grid metrics to BPS energy and carbon goals • Explain the technical differences between biodiesel and petroleum-based No. 2 heating oil • Define IEQ and energy performance of a mixed-mode building • Describe a possibility of mixed-mode approach in mixed-humid climate in U.S.
23 | Paper Session | 2023-02-08 | Multifamily and Residential Buildings - Part 1 | • Provide an overview of the MySmartE app development process • Describe how the MySmartE app affected the residential community • Learn how to design moisture content measurement pins for fields studies • Explain the effects of moisture content data acquisition system components on the measurements
24 | Paper Session | 2023-02-08 | Occupancy Prediction and Load Profiling | • Provide evidence that using many inputs for training could reduce the performance of prediction models • Demonstrate the importance of the identification of principal components in the dataset to be used for training prediction models
25 | Paper Session | 2023-02-08 | Control Sequences, Commissioning, and Decarbonization | • Explain recommendations for indoor air quality and controlling the spread of COVID-19 • Explain the spatio-temporal characteristics of indoor microclimate phenomenon and how temperature distribution can vary across a space • Explain how use of hybrid oil-fired hydric and heat pump systems can be optimized to achieve high efficiency operation • Explain how renewable fuels could help reduce greenhouse gas emissions
26 | Paper Session | 2023-02-08 | Design, Simulation, Predictions | • Describe how to utilize machine learning models to predict indoor flow pattern based on given boundary conditions • Describe a PCM hysteresis modeling method • Recognize the direct relationship between exergy destructions and CO2 emissions • Identify the exergy mismatch between moderate temperature heating and cooling and the exiting equipment
1 | Seminar | 2023-02-05 | Air Evaporator Basics: What You Must Know for an Efficient Design | • Explain the effects of refrigerant glide on an air coil evaporator • List the key factors that affect the evaporator selection • List factors that affect the evaporator efficiency • Describe the common defrost method
2 | Seminar | 2023-02-05 | Building on Twenty Years of Guidance Toward Decarbonization: The ASHRAE GreenGuide | • Describe how ASHRAE’s GreenGuide has evolved over the last two decades • Explain how the targeted audience for the 6th edition of the ASHRAE GreenGuide has changed • List the new chapters in the 6th edition of the ASHRAE GreenGuide and their roll toward achieving decarbonization • List the chapters which have been removed or renamed in the 6th edition of the ASHRAE GreenGuide
3 | Seminar | 2023-02-05 | Cutting-Edge Japanese Technologies on Grid Resilience and Thermal Storage: SHASE Annual Award Winners | • Describe a system leveraging heat storage advantages in the building frame and radiant cooling/heating using a contact system with uniquely developed aluminum fins instead of the conventional buried piping system • Describe a system to store geothermal heat in the building frame to reduce heat source energy • Describe resilience approaches using a complex heat source system using a water storage tank for resiliency and ecology in both daily energy use and emergencies • Explain the design approach to a highly flexible air-conditioning system combining water-source VRV systems and a buffer water storage tank
4 | Seminar | 2023-02-05 | It's Elementary! (Or is it?): Challenges and Opportunities for Radiant Heating and Cooling Systems in Educational Facilities | • Describe the fundamentals of radiant heating a cooling systems • Explain how radiant systems can be effectively applied in educational facilities • Identify the important systems components and key design factors to consider • Describe the application of cascading water temperatures in district chilled water systems to improve chiller IPLV
5 | Seminar | 2023-02-05 | Smart Residential Ventilation Control for IAQ and Energy Efficiency | • Identify which ventilation control strategies are the most effective at energy saving while maintaining acceptable IAQ • Describe how real-time infiltration could be estimated and how to use it to adjust ventilation rates • Explain how varying ventilation rates impacts indoor air quality, comfort and energy • Explain how pollutant exposure is modeled to determine equivalency among continuous and time-varying ventilation strategies
6 | Seminar | 2023-02-05 | Testing of Gas Phase Air Cleaners | • Explain how air cleaning may partly substitute for ventilation • Describe how perceived air quality is measured • Define a new test method for gas phase air cleaners • Identify the performance differences of different air cleaning technologies and gain knowledge on the capabilities of existing air cleaners
7 | Seminar | 2023-02-05 | ASHRAE Conference Crash Course | • Describe ASHRAE's organizational structure • Explain Standing Committees and Technical Committees • Explain YEA • Describe the AHR Expo and other ASHRAE events
8 | Seminar | 2023-02-05 | Back to Basics: Compressor and System Integration Strategies and Modulation | • Compare pros and cons of compressor modulation options and assess cost-effectiveness • Describe the compressor modulation strategy using a two-speed or three-speed compressor coupled with a 2-stage thermo-stat • Explain what the limitations are for various modulation modeling approaches • Describe how the cycling losses are calculated in the AHRI standards and if there any limitations to this method of calculation
9 | Seminar | 2023-02-05 | Infection Control in Commercial Spaces | • Describe how to use CFD to investigate the mitigation strategies for indoor contaminant spread • Explain how to model airborne virus transmissions by drift-flux model • Explain the importance of particle surface deposition when modeling airborne virus transmissions • Identify the relative effectiveness of various controls among space and HVAC system types
10 | Seminar | 2023-02-05 | Low GWP Refrigerants and the Lessons Learned from the Past | • Describe the various refrigerant transitions that have occurred over the past 100 years and establish the factors that have led to the various refrigerant developments • List the potential future risks with the adoption of new and old low GWP refrigerant chemistries • Derive compromises that might emerge in the future from future refrigerant choices and Understand how refrigerant properties impact system performance • Identify potential refrigerant selection for a sustainable future
11 | Seminar | 2023-02-05 | Optimizing Thermal Energy Storage Integrated with HVAC | • Explain how to simulate a PCM integrated heat pump via component based system simulation • List different strategies to regulate the PCM charging and discharging mode switching • Explain how to achieve CO2 emission reduction using PCM integrated heat pump • Describe the effectiveness of using a thermal storage tank to manage load profile
12 | Seminar | 2023-02-05 | ASHRAE Standard 62.1, Indoor Air Quality Procedure: 2022 Updates and Application | • Describe the new updates of ASHRAE Standard 62.1-2022 indoor air quality procedure (IAQP) • Explain the choice of design compounds and design limits included in the IAQP • Explain how to apply the IAQP with incorporating filtration and air cleaning • Describe how to use the IAQP to achieving net zero goals while maintaining healthy spaces
13 | Seminar | 2023-02-05 | Bringing ASHRAE Home: Residential Issue Briefs | • Describe the role of the Residential Buildings Committee in ASHRAE • Explain how wildfires can affect living conditions in the residence • Detail the importance of bedroom IEQ towards sleep quality for our overall health, well-being and productivity • Explain how the shift to working from home has affected the indoor environment and residential equipment for the home worker
14 | Seminar | 2023-02-05 | Do We Need More Building Information Modeling (BIM) Standards and Guidelines? | • Discuss similarities and differences between ASHRAE SPC-224, NBIMS 4.0, and ISO-19650 • Explain how ASHRAE SPC-224 is helping business owners to better work with BIM • Describe NBIMS 4.0 CoreBIM requirements • Describe parts of the ISO-19650 standard
15 | Seminar | 2023-02-05 | The Evolution of Thermal Energy Storage for Cooling Applications: The Past, Current and Future | • Identify the basic types of thermal energy storage for air conditioning and their respective benefits and costs • Explain how thermal energy storage can use surplus renewable energy and operate as a thermal battery • Describe the unique properties of water and ice how that can be utilized in the design of air-conditioning systems • Explain how the electric utility industry has evolved and how that has influenced the markets for thermal energy storage
16 | Seminar | 2023-02-05 | The Human Aspects of Building Decarbonization | • Identify the linkages between human behavior and building sector decarbonisation strategies • Explain how occupant-centric approaches can improve the potential of demand-side solutions in reducing emissions • Explain how the existing occupant behavior research can be leveraged for effective and rapid decarbonization • Describe challenges of building decarbonisation and how it relates to human behavior
17 | Seminar | 2023-02-05 | Fans, Diffusers, and Doors, Oh My! Good Virtual Design Begins with Good Models of Airflow Sources and Leakage Paths | • Explain the difference between total and static pressure and how they impact velocity profiles • Explain why “throw” is an important consideration in room airflow distribution • State the primary reasons why a compact blower model should be employed in data center simulations • Explain what is involved in full-scale thermal testing of fire doors
18 | Seminar | 2023-02-05 | High Performing Heating, Ventilation and Air-Conditioning (HVAC) Systems and Enhancements for Controlled Environment Agriculture | • Design for and apply the range of equipment available for controlled environment agriculture • Explain why the internal loads of controlled environment agriculture differs from comfort cooling • Describe differences in Heating, Ventilation and Air-Conditioning (HVAC) technologies for controlling the environment and precision and accuracies for the different technologies available • Compare performance, installation and maintenance for latent enhancement equipment
19 | Seminar | 2023-02-05 | Igniting a Carbon-free Fire around Building Science | • Describe the technologies pushing the envelope and other building systems in zero energy/carbon design Understand the successes of the student competition in advancing the net zero residential and commercial building industry • Identify design plans that inspire practicing industry professionals • Identify what future professionals are valuing in the zero energy/carbon building designs • Explain how to deploy an alternative financial and real estate strategies to fund projects
20 | Seminar | 2023-02-05 | Low GWP Solutions for Commercial Refrigeration Industry | • Identify low GWP (<150)synthetic and natural refrigerant options, for display cases and walk-in coolers • Describe impact of relative humidity of ambient air to choose ideal CO2 refrigeration system for high ambient locations • Explain Load Flexibility Strategies to help in demand reduction of Display Cases • Describe different system architects of commercial refrigeration systems
21 | Seminar | 2023-02-05 | Optimizing Design and Controls for Thermal Energy Storage at the Building and Community Scale | • Describe how thermal energy storage can result in a lower levelized cost than battery energy storage • Demonstrate how additive manufacturing can result in advanced heat exchanger design and manufacturing for thermal energy storage devices • Explain how thermal power requirements impact the optimal design needs of thermal energy storage heat exchangers • Explain the benefits of using optimization to inform distribution and control of mixed types of cool thermal storage across a connected community
22 | Seminar | 2023-02-05 | Water Treatment Part III Closed Loops: The Forgotten System | • Explain what minimum equipment should be designed into the closed loop system design for maximum water treatment efficiency • Explain how a glycol fill system should be designed and the ongoing monitoring requirements to maintain a quality fluid • Describe how different piping materials can be affected differently based on the application • Explain the importance of proper loop cleaning prior to starting operation of the closed loop
23 | Seminar | 2023-02-06 | Brace for it, the Occupants are Coming: Managing the Impact of Building Occupants on Building Operations and Maintenance | • Explain how occupant behavior introduces uncertainty into building operations • Identify factors that may make efforts to manage occupant behavior more successful • Calculate and apply the occupant metrics to communicate with stakeholders • Develop strategy for when occupants believe that they can never be comfortable unless they take matters into their own hands
24 | Seminar | 2023-02-06 | Certification of Seismic Brace Systems | • Explain why it is necessary to brace equipment/pipe/duct • Describe the best approach for the installation of restraint systems for non-structural components • Explain the requirements of testing and rating of seismic restraints and differences in testing different restraints • Describe the difference between rating and certification
25 | Seminar | 2023-02-06 | Decarbonizing Campuses Utilizing Heat Pumps and Thermal Energy Storage | • Describe the options for campus energy systems to decarbonize • Explain the benefits of coupling thermal energy storage and geo-exchange if space is limited • Explain the options to shift heating and cooling loads with seasonal storage • Evaluate the real world costs and challenges of converting from a campus steam systems to a fully integrated low temp hot water system
26 | Seminar | 2023-02-06 | Human Metabolic and CO2 Generation Rates | • Estimate and use CO2 emission rates from people • Decide whether CO2 emission rates depends on age • Identify what personal and environmental factors impact emission rates of CO2 • Identify the CO2 emission rates for awake and sleeping people
27 | Seminar | 2023-02-06 | Level of Detail for Energy Modeling | • Identify the appropriate level of detail required for energy modeling • Describe the relationship between BuildingSync’s LOD and ASHRAE Standard 211 • Describe the relationship between BIM LOD and ASHRAE Standard 209 modeling cycles • Recognize the LOD required of a BIM to fully define a Cycle #2 -Conceptual Design Model vs. a Cycle #8 – As-Designed Energy Performance model
28 | Seminar | 2023-02-06 | Back to Basics with Hydronics: The OG of HVAC Systems | • Explain the basics of hydronic systems design • Describe the manner that hydronic systems directly impact building efficiency and performance • Distinguish the equipment and components that are unique to a hydronic system • Discuss the importance of hydronics as a potential heating and cooling solution and their role in decarbonization of the built environment
29 | Seminar | 2023-02-06 | Browser and Cloud-based Solutions to Airflow Modeling Challenges | • Explain why operational planning requires a different simulation environment compared with design • Describe the primary benefits of web-based CFD over installed applications • Explain why airflow patterns are typically more important than cooler capacity in determining data center cooling performance • Understand the new programming environment and language of WebGPU
30 | Seminar | 2023-02-06 | Continued Evolution of Lubricants for HVAC | • Describe basic performance criteria for next generation lubricants • Determine the impact of low GWP refrigerants on current and future lubricant technology • Describe the effect of incumbent refrigeration lubricants used in R1234zeE and HFO blend applications • Explain how achieving sustainability and environmental friendliness is important
31 | Seminar | 2023-02-06 | Ready, Set, Go: Building Turnover for Successful Operation, Maintenance and Cost Management | • List five best practices for including the O&M team in project development and delivery • Develop a system narrative required as part of the turnover package • Recognize how proper training and turnover helps protect the interests of all project participants • Recognize how training and turnover impacts project completion and final acceptance
32 | Seminar | 2023-02-06 | Smart and Resilient Buildings: Examples of Applied Research in STBE Journal Available for ASHRAE Members for Free | • Provide an overview of research articles that can be found in the STBE journal • Understand the stochastic model for building electrical load profile • Apply data-driven method for AFDD baseline construction • Distinguish the differences between rule-based control and deep-learning based control
33 | Seminar | 2023-02-06 | Combined Heat and Power (CHP) A Key Carbon-Free Dispatchable Energy Resource | • Describe the use of Hydrogen as a fuel for CHP • Explain how renewable natural gas supports building decarbonization • Describe the methods of carbon capture and sequestration • Explain how to integrate CHP with Heat Pumps to reduce carbon emissions while retaining system reliability
34 | Seminar | 2023-02-06 | Cutting-Edge Japanese Technologies on Advanced Environmental Control: SHASE Annual Award Winners | • Describe a personal thermal and light environment control system developed to improve the workers’ comfort • Describe an all-layer double-skin façade that can effectively improve comfort by controlling sound, heat, light, and visuals • Describe methods to improve user satisfaction, human activities and communication in an activity-based working (ABW) office • Describe AI-based image analysis technology to estimate the amount of clothing, activity and radiant temperature for PMV-controlled air-conditioning
35 | Seminar | 2023-02-06 | New Era in Direct Exchange Geothermal: Advancements, Advantages, Issues, and Future Potential | • Explain recent advancements introduced to the DGX industry for residential systems • Explain operational and design advantages of a DGX system • Explain how using refrigerant as the working fluid can improve the overall performance of a GSHP • Identify common myths surrounding direct geothermal exchange (DGX) technology
36 | Seminar | 2023-02-06 | The Interaction of Indoor Environmental Quality Variables in Schools: Health and Performance Impacts | • Describe how indoor air quality and thermal comfort conditions interact with demographic variables in relation to K-12 student learning outcomes • Explain how seasonal variations may impact indoor air quality and thermal comfort associations with K-12 student learning outcomes • Explain how indoor environmental quality conditions (specifically around acoustics, lighting, indoor air quality, and thermal comfort) interact with demographic variables in relation to K-12 student learning outcomes • Explain how indoor environmental quality factors may interact with each other, in relation to K-12 student performance
37 | Seminar | 2023-02-06 | Accelerating Change in Building Design and Operation towards a Decarbonized and Net-zero Energy Future | • Explain how digital integration and modern methods of construction can be employed to deliver high quality, sustainable, built environments • Explain the impact of lighting on indirect emissions released from the building and how lighting and controls techniques can reduce impacts on HVAC loads and energy consumption from the smart grid • Describe examples of the numerous opportunities that exist to improve overall building performance by using the operational data • Provide an overview of key methods and procedures that can take a significant part in the move towards decarbonization and achieving quality, net zero energy buildings
38 | Seminar | 2023-02-07 | Employing 3D Printers for Swift and Adaptable Additive Manufacture of HVAC&R Components | • Explain applications of additive manufacturing in building HVAC&R • Describe the novel use of additive manufacturing for innovative solutions • Discuss how 3d printing technology is suitable for both small vs large projects and simple vs complex solutions to meet the needs of product manufacturing • Explain the advantages of triply periodic minimal surface structures that have been created by additive manufacturing
39 | Seminar | 2023-02-07 | How to Evaluate Mechanical Ventilation in Existing Buildings | • Describe factors that impact mechanical ventilation system operation • Explain methods for evaluating and quantifying mechanical ventilation in commercial and residential buildings • Explain methods for evaluating and quantifying engineering controls in healthcare facilities • Apply actions and methods in the field to improve ventilation in existing buildings
40 | Seminar | 2023-02-07 | Standardized Building Datasets for Benchmarking Control Algorithms, Energy Efficiency, Modeling and Decarbonization | • Describe the key control system data sources for use in control logic, system interoperability and system modeling • Define fluctuations in building energy consumption load profile time-series data • Describe the role that datasets play to support high priority buildings use cases to address decarbonization and other societal needs • Explain potential performance impact and barriers to deploying supervisory HVAC control
41 | Seminar | 2023-02-07 | Supporting Grid Resilience with CHP and TES | • Explain how thermal energy storage can support the grid • Describe how combined heat and power can provide critical facility energy resilience • Describe how combined heat and power can support decarbonization • Explain the integration of controlled environment agriculture, CHP and TES
42 | Seminar | 2023-02-07 | Adiabatic Heat Rejection: The New Happy Medium | • Describe what an Adiabatic Fluid Cooler is • Explain the benefits of Adiabatic Fluid Cooling versus a Dry Cooling • Introduce the maintenance characteristics of Adiabatic Fluid Coolers • Explain the impact of codes and standards related to Adiabatic Fluid Coolers
43 | Seminar | 2023-02-07 | How Common are Residential HVAC Installation Faults, and How Can We Detect Them? Results from the DOE Building America Program | • Identify which installation faults are common and impactful in residential air-conditioners and heat pumps • Describe the methods that can be used to effectively determine whether faults are present • Identify the difference among different rule-based FDD methods for residential heat pumps • Describe the effectiveness of a home AC fault detection and classification method that uses the data readily available from smart thermostat and smart meter
44 | Seminar | 2023-02-07 | Innovative and New Ideas: BAS Best Practices for O&M Success | • Apply new ideas for improved O&M that build upon the existing methods of ASHRAE Guideline 36 • Quantify issues and develop effective solutions for optimizing energy usage • Describe the importance for owners of understanding challenges for technologies with advanced control capabilities • Apply lessons learned to improve consistency with functionality across multiple vendor platforms and HVAC technologies
45 | Seminar | 2023-02-07 | Results of 1799-RP, Applying Performance Test Results for Small Enthalpy Exchangers to Very Large Exchangers | • Explain the verification process for AHRI certified performance ratings for air-to air enthalpy exchangers • Describe how and to what extent the AHRI certified performance ratings of smaller air-to air enthalpy exchangers support the process for verifying the performance of large exchangers • Summarize the test data for the two sets of exchangers that were tested in this research project • Summarize the test data for air-to air enthalpy exchangers over a wide range of conditions
46 | Seminar | 2023-02-07 | ASHRAE Building Decarbonization Update | • Describe how ASHRAE is addressing building decarbonization through new technical resource guides, standards, and workforce development. • Identify the key elements of ASHRAE’s newly published Building Performance Standards Technical Resource Guide and how to use this guide to decarbonize the existing buildings • Describe the different levels of energy audits defined through ASHRAE Standard 211, and the plans underway to address building decarbonization in the Standard • Describe which organizations ASHRAE is collaborating with to advance building decarbonization globally
47 | Seminar | 2023-02-07 | Advances in Reactive Air Cleaning Technologies | • Define what is reactive air cleaning technologies • Provide an overview of reactive air cleaning technologies • Demonstrate how CFD can be employed to evaluate efficacy of reactive air cleaning technologies • Demonstrate how soft ionization can help in enhancing filter performance
48 | Seminar | 2023-02-07 | Air-to-Air Energy Recovery: Dealing with High CFM Applications | • Describe the various options when using energy recovery wheels in high CFM air handlings units • Describe common fixed plate air-to-air heat exchanger technologies • Describe common design considerations for high airflow systems using fixed plate air-to-air heat exchangers • Describe common equipment layout for large fixed bed regenerator applications
49 | Seminar | 2023-02-07 | Cutting-Edge Japanese Technologies on Decarbonization Strategies: SHASE Annual Award Winners | • Describe the design principle and method of achieving ZEBs (Zero-Energy Building) and decarbonization for high-rise urban city halls that achieve high levels of comfort, energy efficiency and resilience • Describe how effective to reduce the skin load using building frames • Describe how to assess energy-saving in real time and visualization by natural ventilation • Describe the contribution to carbon neutrality by extending the life of the facilities apparatus and plumbing in buildings using a non-chemical corrosion-prevention system
50 | Seminar | 2023-02-07 | Managing the Complexities of Cybersecurity | • Describe the convergence of BAS and IT today • Describe the importance of BAS professionals understanding and planning for the impact of cybersecurity on BAS networks and systems • Explain why interoperability is important • Describe how the industry is working collaboratively to secure BAS systems
51 | Seminar | 2023-02-07 | Best Practices of the Mentor-Mentee Relationship | • Accelerate mentee learning, confidence, and competence building and advancement, as well as avoid or be aware of challenges and areas of unconscious incompetence • Identify a trusted advisor and go-to resource for professional and personal issues • Enhance interactions, growth and learning between generations • Explain how ASHRAE members and their company’s receive a “value-add” benefit from the association membership
52 | Seminar | 2023-02-07 | How Extreme and Future Weather Data Affect Building Energy Use | • Identify the impacts of climate change in different communities • Describe the risk analysis method at a community scale using building energy simulations • Explain how extreme heat wave events have different effects in different climate zones • Explain how heat waves affect heat emission and energy consumption from buildings, and the heterogeneity of heat emission across different building types and local climates
53 | Seminar | 2023-02-07 | Advanced Energy Design Guidance for Zero Energy and Carbon Multifamily Buildings | • Identify the technologies needed to achieve zero energy in multifamily buildings • Describe best practices for integrating energy efficiency strategies into multifamily buildings • Explore ways to set and implement energy and carbon metrics into the design process • Recognize design plans that inspire practicing industry professionals
54 | Seminar | 2023-02-08 | Automobile and Aircraft Cabin Air Quality and Passengers’ Wellbeing - Implications for Ventilation | • Describe the air conditioning systems in present and future means of transport • Recognize the environmental situation in automobile and aircraft cabins • Identify the effects of different exposure scenarios on comfort and performance • Describe the implications on future design requirements for ventilation systems
55 | Seminar | 2023-02-08 | Decarbonizing Buildings through the use of Green Hydrogen: Technical Challenges | • Explain the differences between natural gas and hydrogen as related to burner fuel use • Explain the steps needed to develop standards for use of hydrogen in buildings • Describe the compatibility of hydrogen blends with current in-building fuel system materials • Provide an overview of the technical challenges to expanded hydrogen use in buildings
56 | Seminar | 2023-02-08 | Evolving Strategies for Environmental Controls in Operating Rooms and Critical Patient Areas | • List strategies to match humidifier performance with critical patient areas’ requirements • Describe safe protocols for operating rooms and other spaces during a humidity event • Describe room-level controls for surgery spaces • Describe technology and cost considerations to select the optimal humidifier for healthcare
57 | Seminar | 2023-02-08 | HVACR Motor Control Applications | • Explain the basics of motor control variable speed applications • Design effective fan array systems and understand their fundamentals • Apply proper sequences and safeties for variable speed refrigeration systems • Optimize motor, compressor, and fan variable speed combinations to increase efficiency
58 | Seminar | 2023-02-08 | Is Your Facility Condition Assessment Ready for the Real World? Case Studies from the O&M Perspective | • Identify the types of facility condition assessment providers in the industry • Recognize the characteristics of a rapidly changing O&M environment and how it impacts deferred maintenance deficiencies • Describe potential strategies for FCA data collection that lead to more flexible decision making • Provide a roadmap to move from data to actual project scopes that are executable even with tight funding
59 | Seminar | 2023-02-08 | Kicking Out the Carbs: The Chemistry of Decarbonizing the World's Laboratories | • Explain how to use the Plan, Assess, Optimize, Process to approach safe and efficient labs • Describe the three main facets of decarbonization and identify the key technologies and strategies for them • Describe and use the tools to easily and effectively decarbonize laboratories • Analyze and score a laboratory building's relative energy use and carbon emissions footprint
60 | Seminar | 2023-02-08 | Fundamentals of Climate Science Part 2: Modern History and Physics | • Explain how climate science has developed in the 20th century • Explain why uncertainty in warming due to CO2 is inevitable • Identify impacts that the climate crises is likely to have in the future • List actions that can be taken to adapt to and mitigate the climate crisis
61 | Seminar | 2023-02-08 | New Ways of Thinking on Heating and Cooling Low-Load Homes | • Identify the challenges in distributing conditioned air in homes having well insulated and tighter envelopes • Describe the magnitude of stratification in single family, multistory homes • Describe how operating parameters of HVAC systems impact stratification • Identify options for reducing stratification in homes
62 | Seminar | 2023-02-08 | The Risk of Decoupling Efficiency and Decarbonization | • Identify the risks associated with incorporating carbon free solutions on end use or primary efficiency • Explain the major factors impacting emissions from electrified heating • Provide examples of how in certain cases electrification of heating can actually increase heating emissions • Offer general guidelines for assessing the best decarbonization strategy for heating systems
63 | Seminar | 2023-02-08 | Air Cooled Vs Water Cooled Chillers: The Great Debate | • Explain how to apply both air and water-cooled chillers and understand how to evaluate their overall efficiency and effectiveness • Explain the unique characteristics of both air and water cooled modular chillers. • Describe how a heat pump chiller can be integrated into a system design. • Explain how chiller noise sources and installations affect chiller sound levels and the spectrum they create
64 | Seminar | 2023-02-08 | Challenges and Advances in Modeling Grid-Interactive Efficient Buildings (GEB) | • Provide an overview of grid-interactive efficient buildings • Apply modeling techniques and measures used for grid-interactive efficient buildings • Explain basic demand flexibility concepts, such as load shed and load duration • Describe strategies for modeling electrical power interactions between buildings and the grid
65 | Seminar | 2023-02-08 | Embodied carbon vs Operational Carbon: Tradeoffs and Choices for the Building Envelope | • Describe the difference between operational carbon and embodied carbon • Discuss key tradeoffs between operational carbon and embodied carbon for building retrofit • List at least two tools that may be used to quantify the embodied carbon in a building • Describe how conversation will shift from operational energy to embodied energy in the future as buildings decarbonize
66 | Seminar | 2023-02-08 | Seismic, Wind and Flood International Codes for Equipment | • Describe applied wind, seismic and flood codes differences between Canada and the United States • Describe applied wind, seismic, and flood codes in the Middle East Counties and Turkey • Explain when and where the International Building Code is used, and the differences between the International Building Code and other codes regarding the design for seismic and wind • Explain which building code is appropriate for countries around the world for design of HVAC&R equipment to withstand seismic and wind
67 | Seminar | 2023-02-08 | SPIRE, WELL, Building EQ: New Certifications for Smart, Healthy and Efficient Buildings | • Explain how smart building technologies, policies, and operational processes come together to deliver business outcomes • Explain how the WELL certification process can guide buildings toward better indoor health and safety • Describe the concepts of WELL along with strategies of the built environment that can impact health and safety • Explain how Building EQ portal can help with auditing of buildings
68 | Seminar | 2023-02-08 | Thermally Driven Heat Pumping and Cooling to Assist Grid Decarbonization | • Identify and understand the technology discussed • Explain the practical applications of the technology • Identify the positive aspects in applications of this technology • Identify the negative issues in applications of this technology
1 | Workshop | 2023-02-05 | Viewing Sustainability through the Lens of the Facility Manager | • Identify the different indicators of a High Performing Building beyond Energy • Explain how different building performance indicators relate to one another • Describe a framework to prioritize building performance indicators in addressing operational concerns • Explain feedback from different stakeholders and apply results to developed framework
2 | Workshop | 2023-02-06 | Development of Sustainable Energy-efficient Water Supply Systems in Multifamily and Residential Buildings | • Provide an overview of the water streams in a building and its relation to energy and water demand in multifamily buildings • Identify synergy effects between different technical system when different water streams are combined to reduce energy demand of a building • Describe the potential of a grey water recirculation system in multifamily buildings • Describe the treatment capacity of a grey water recirculation system