## Slide 1: 2023 ASHRAE LowDown Showdown Modeling Competition
2023 ASHRAE LowDown Showdown Modeling Competition
THE CARBON LIGHTERS 2023
Alfonso E. Hernandez
Captain & Daylight
Designer
Mili Kyropoulou
Design & Performance Integrator
Emir Pekdemir
Energy & Thermal
Ideator
Kyleen Rockwell
Energy & Thermal Integrator
Bai (Brianna) Shixue
Energy & Comfort
Integrator
Felipe Perez Villarreal
Lead Design
Rosa Martell
Embodied Carbon Specialist
Yiwei Huang
Photovoltaics
Integrator
2023 Building Performance
Analysis Conference
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 2
2023 ASHRAE LowDown Showdown Modeling Competition
THE CARBON LIGHTERS 2023

## Slide 3
2023 ASHRAE LowDown Showdown Modeling Competition
THE CARBON LIGHTERS 2023
Total Annual Energy
15,449,144
Site EUI
23.5
Source EUI
74.1
Annual Op. Carbon
1.99
Total Embodied Carbon
94,253,677
Annual Water Usage
299,767
Annual Energy Cost
0.60
Annual Water Cost
0.005
Total Annual Op. Cost
0.605
Total Onsite Energy Gen.
125,593,517
kBtu/yr
kBtu/sf yr
kBtu/sf yr
kgCO2e/sf yr
kgCO2e yr
gallons
$/sf
$/sf
$/sf
kBtu/yr

## Slide 4
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 5
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 6
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 7
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 8: SITE CONSIDERATIONS
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 9
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 10
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 11
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 12
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 13
2023 ASHRAE LowDown Showdown Modeling Competition
LIGHT RAIL

## Slide 14: CLIMATE
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 15
SAN FRANCISCO
NEW YORK
HOUSTON
High comfortable hours
Low precipitation in summer
Short comfortable range in shoulder seasons
High precipitation in hot seasons
Decent number of comfortable hours in shoulder seasons
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 16
More clean air in recent years
In shoulder season AQI is good
Nearby sites are mainly parking lots,
Less turbulent wind patterns expected
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 17: THERMAL AUTONOMY ANALYSIS
No HVAC system
Occupants are free to adapt their clothing to the thermal conditions within a range at least as wide as 0.5 to 1.0 clo.
The difference between operative temperature and acceptable temperature range was analyzed
Automatically control door, retractable skylight
Occupied hours 8:00 AM- 20:00 PM
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 18: ADAPTIVE COMFORT ANALYSIS - HOT & HUMID WEATHER THERMAL AUTONOMY ANALYSIS
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 19: Degree (F) outside the comfortable range THERMAL AUTONOMY ANALYSIS
Too Cold Too Hot
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 20: Degree (F) outside the comfortable range THERMAL AUTONOMY ANALYSIS hot & humid weather
Too Cold Too Hot
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 21: summary of thermal autonomy analysis by opening facing THERMAL AUTONOMY ANALYSIS
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 22: CLIMATE CHANGE SCENARIO
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 23: future weather files – different generation method CLIMATE CHANGE SCENARIO
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 24
Temperature increases
More cooling to be expected
Dryer weather
Comfortable hours decrease,
but this is only based on the weather file itself
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 25
Cloud Cover decreases
Direct Solar Radiation may increase as cloud cover decreases
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 26: Degree (F) outside the comfortable range CLIMATE CHANGE SCENARIO THERMAL AUTONOMY ANALYSIS
Too Cold Too Hot
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 27: Degree (F) outside the comfortable range CLIMATE CHANGE SCENARIO THERMAL AUTONOMY ANALYSIS
Too Cold Too Hot
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 28: SENSITIVITY STUDIES
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 29: Summary of peak cooling and heating load by opening facing - HVAC included SUMMARY OF PEAK HEATING AND COOLING LOAD BY OPENING PER ORIENTATION - HVAC INCLUDED
optimized orientation
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 30: SUMMARY OF PEAK HEATING AND COOLING LOAD BY OPENING PER ORIENTATION - HVAC INCLUDED
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 31: SKYLIGHT SHGC SENSITIVITY STUDY
0.25
6.27%
optimized point
SHGC-0.25
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 32: DESIGN
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 33
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 34
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 35
2023 ASHRAE LowDown Showdown Modeling Competition
HOTEL
IMMERSIVE EXP & MUSEUM
RETAIL & F&B
BOH & PARKING

## Slide 36
2023 ASHRAE LowDown Showdown Modeling Competition
museum with glass ceiling
outer thermal buffer
etfe skylights
hotel with planters & balconies

## Slide 37
2023 ASHRAE LowDown Showdown Modeling Competition
vegetation as focal point

## Slide 38
2023 ASHRAE LowDown Showdown Modeling Competition
indoor park
indoor street

## Slide 39
2023 ASHRAE LowDown Showdown Modeling Competition
thermal labyrinth
spot cooling
displacement ventilation
humidity control
cond.

## Slide 40
2023 ASHRAE LowDown Showdown Modeling Competition
77,726 sf
199,362 sf
68,316 sf
448,378 sf
45,238 sf

## Slide 41: ENERGY
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 42: ENERGY SAVINGS
Improved skylight SHGC 0.25
DOAS – enthalpy wheels
Heat recovery chiller
Condensate recovery
Natural Ventilation & Adaptive comfort
Stratified cooling
Buffer thermal zone
Daylight sensor control, efficient LED lighting
Parking garage lighting from skylight
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 43: ENERGY EFFICIENCY MEASURES
2023 ASHRAE LowDown Showdown Modeling Competition
Improved skylight SHGC 0.25 (etfe + vision glass)
DOAS – enthalpy wheels
Heat recovery chiller
Condensate recovery
Natural Ventilation & Adaptive comfort for shoulder seasons
Stratified cooling for indoor street (spot cooling + displacement ventilation)
Outer buffer thermal zone
Precondition using the underground thermal labyrinth
Optimized LPDs (Daylight sensor control, LED lighting)
Parking garage lighting from skylight

## Slide 44: ENERGY MODEL BREAKDOWN W/ CLIMATE CHANGE SCENARIO (MBtu)
50.7 kBtu/sf-yr
23.5 kBtu/sf-yr
23.9 kBtu/sf-yr
Baseline
Proposed
Proposed- 2050
Proposed- 2080
24.3 kBtu/sf-yr
GSHP not recommended
potential imbalance in soil heat
Additional cooling tower
lighting/ DHW energy might be reduced further
cooling dominated
combined effect of multiple EEMs
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 45: CARBON
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 46: OPERATIONAL CARBON
2023
1.99 kg CO2e/SF-yr
0.60 kg CO2e/SF-yr
0.35 kg CO2e/SF-yr
2030
2050
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 47: EMBODIED CARBON
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 48: EMBODIED CARBON
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 49: CARBON MITIGATION MEASURES
2023 ASHRAE LowDown Showdown Modeling Competition
Existing Concrete Structure maintained as much as possible (only 12% removed to allow for opening)
Diverse programming contributed to lower the reliance on A/C by introducing Mixed Mode and Displacement Ventilation Strategies
Adaptive comfort was studied in order to broaden the comfort band and lower the reliance on A/C
Daylighting was seized to lower the reliance on artificial lighting
The project has the potential to become off grid with proper large scale battery storage

## Slide 50: DAYLIGHT
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 51: 97.8 % of occupiable areas receive more than 300 lux during occupied hours no conditions of potential glare were observed
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 52: ONSITE GENERATION
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 53
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 54: WATER
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 55: WATER EFFICIENCY MEASURES
2023 ASHRAE LowDown Showdown Modeling Competition
Indoor Fixtures were designed to have 50% lower rates than code
No irrigation from potable water
Rainwater & Condensate from the entire site will be collected and stored in underground tanks
Toilets & Cooling Tower to use reclaimed water
https://cms.esi.info/Media/productImages/Sustainable_Drainage_Systems_GEOlight_stormwater_management_units_1.jpg

## Slide 56: INDOOR AIR QUALITY
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 57: INDOOR AIR QUALITY DASHBOARD
WELL, RESET threshold incorporated
Measured from actual supply/return CO2 concentration
Infection risk indicator
Integrated with skylight control
Air quality awareness
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 58: real-time time series data forwarding via URL to AWS & Power BI INDOOR AIR QUALITY DASHBOARD
serverless lambda function for real time processing:
indoor air quality,
energy,
marginal carbon emission.
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 59: INDOOR AIR QUALITY DASHBOARD
Focusing on preserving art, chemical transformation
MERV13 filter
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 60
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 61: RESULTS SUMMARY
 | IP | SI
Total Annual Energy Use | 15,219,857 kBtu | 4,459,639 kWh
Total Annual Water Use | 299,767 Gallons | 1,134,741 liters
Total Annual Onsite Energy Production | 125,593,517 kBtu | 36,800,725 kWh
Annual Energy & Water Cost | 0.605 $/sf | 0.054 $/m2
Site EUI | 23.5 kBtu/sf yr | 76.50 kWh/m2
Source EUI | 74.1 kBtu/sf yr | 241.24 kWh/m2
Annual CO2e Emissions | 1.99 kgCO2e/sf yr | 1.99 kgCO2e/sf yr
Embodied CO2e | 94,253,677 kgCO2e | 94,253,677 kgCO2e
2023 ASHRAE LowDown Showdown Modeling Competition

## Slide 62: CONCLUSIONS
2023 ASHRAE LowDown Showdown Modeling Competition
THE CARBON LIGHTERS 2023
Few buildings are as historically iconic and impactful in terms of architecture & engineering as the Astrodome. With this in mind, the team worked towards creating a design that aimed to repurpose it by adapting it to our climate change drive times while giving it a new life as an urban hub with multiple, diverse uses. The team strived to keep the existing geometry as intact as possible while incorporating new uses, adapting each one of these new uses to the best performance optimization strategy possible and to the best possible location within the existing structure.
Additionally, the team looked beyond the building in order to incorporate more urban oriented and site oriented strategies, which contributed to the overall performance of the design. Opening the building to the East contributed on the creation of an “indoor street” and a botanical garden while a strategy of shading of the existing parking lot justified the incorporation of photovoltaics canopies, which will produce close to 8 times more than what the new design will require.
The project is by far netzero energy and netzero carbon!