## Slide 1
Why “District-style” as opposed to “Individual-Building-style”
District-style
Individual-Building-style

## Slide 2
Why “District-style” as opposed to “Individual-Building-style”
District-style
Why Incur Costs for the Extra Connector Pipes?
Individual-Building-style

## Slide 3
Why “District-style” as opposed to “Individual-Building-style”
LIMITATION OF AVAILABLE FOOTPRINT SPACE

## Slide 4
Why “District-style” as opposed to “Individual-Building-style”
Chart: Household
 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 3 | 4 | 3 | 2 | 1 | 1
Chart: School
 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 4 | 5 | 6 | 7 | 6 | 5 | 4 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Chart: Aggregated “District”
 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 5 | 5 | 5 | 6 | 7 | 8 | 7 | 6 | 5 | 4 | 4 | 5 | 6 | 5 | 4 | 3 | 3
Separately:
Max 4, and
Max 7, equals
Infrastructure
Need of 11
Aggregated:
Sharing
Reduces To
Infrastructure
Need of 8
LOAD FLATTENING enables downsizing

## Slide 5
Why “District-style” as opposed to “Individual-Building-style”
ACCESS TO OPPORTUNISTIC RESOURCES such as wastewater and/or surface water body
POTW Outfall Pipe