|  |  |
| --- | --- |
| ASHRAE Technical FAQ | |
| |  |  |  |  | | --- | --- | --- | --- | |  | | | | | ID | 62 | | |  | | | | Question | What are ASHRAE's recommended filtration efficiencies for medical applications? | | |  | | | | Answer | [ASHRAE Standard 170-2021](https://www.techstreet.com/ashrae/standards/ashrae-170-2021?product_id=2212971) – Ventilation of Healthcare Facilities, recommends minimum filter efficiencies for most medical applications as follows:  First filter Bank: MERV 7 Second filter Bank: MERV 14 Different spaces have different minimums so refer to the standard for a full discussion.  [HVAC Design Manual for Hospitals and Clinics, 2nd Edition](http://www.techstreet.com/ashrae/products/1852624)  ASHRAE publications may be purchased and/or individual chapters of the handbook may be purchased and downloaded on-line at our website, [www.ashrae.org](file:///C:\Users\Gemma\Documents\1wpf\ASHRAE\TC%202.4\FAQs\FAQs%20Jan%202016\www.ashrae.org) or by calling 1-800-527-4723 in the USA and Canada or 1-404-636-8400 worldwide.  Other organizations that can provide guidance include:  [AIA](http://www.aia.org) – American Institute of Architects, ([www.aia.org](http://www.aia.org)) [CDC](http://www.cdc.gov) – Centers For Disease Control, ([www.cdc.gov](http://www.cdc.gov))  JCAHO - Joint Commission of Accreditation of Healthcare Organizations ([www.jointcommission.org](http://www.jointcommission.org))  [HHS](http://www.hhs.gov/) - US Department of Health & Human Services ([www.hhs.gov](http://www.hhs.gov/))  [NAFA](http://www.nafahq.org)- National Air Filtration Association, ([www.nafahq.org](http://www.nafahq.org)), NAFA Guide to Air Filtration | | |  | | | | ASHRAE Pubs | [ASHRAE Standard 170-2021](https://www.techstreet.com/ashrae/standards/ashrae-170-2021?product_id=2212971), Ventilation of Healthcare Facilities, plus [ASHRAE BOD approved addenda](http://www.ashrae.org/standards-research--technology/standards-addenda).  [2023 ASHRAE Handbook – HVAC Applications](https://www.techstreet.com/ashrae/standards/2023-ashrae-handbook-hvac-applications-i-p?product_id=2225673), Chapter [A09](https://www.techstreet.com/ashrae/searches/38671911)  [ASHRAE Standard 52.2-2017](http://www.techstreet.com/ashrae/standards/ashrae-52-2-2017?product_id=1942059), Method of Testing General Ventilation Air-Cleaning Devices for Removal Efficiency by Particle Size, plus [ASHRAE BOD approved addenda](http://www.ashrae.org/standards-research--technology/standards-addenda).  [HVAC Design Manual for Hospitals and Clinics, 2nd Edition](http://www.techstreet.com/ashrae/products/1852624) | | |  | | | | Topic References | hospital, filtration | | |  | | | | | |  |  |  | | --- | --- | --- | |  | Cognizant ASHRAE Committees | Refer to Organization | | 1 | [TC 2.4](http://tc0204.ashraetcs.org/) | [NAFA](http://www.nafahq.org) | | 2 | [TC 9.6](http://tc0906.ashraetcs.org/) |  | | 3 |  |  | | 4 |  |  | | 5 |  |  | | | |  | | | | |  |