| ### ASHRAE Technical FAQ |  |
| --- | --- |
| ID; 24. Question; Where can I find more design information on a new refrigerant?. Answer; The 2021 ASHRAE Handbook - Fundamentals has two chapters devoted to refrigerants. Chapter F29 provides a general discussion of the different refrigerants, and Chapter F30 provides pressure-enthalpy diagrams and summary tables of the thermodynamic and transport properties of the more common refrigerants. Chapters R06, R07, and R12 of the 2022 ASHRAE Handbook - Refrigeration provide information on refrigerant system chemistry, the control of moisture, and lubricants for use with refrigeration systems. The "NIST Reference Fluid Thermodynamic and Transport Properties Database (REFPROP 10), Version 10.0", provides more detailed properties for 147 pure fluids, 121 predefined mixtures (such as R410A) and allows the user to obtain properties for any arbitrary mixture with up to 20 components. ASHRAE Standard 34-2022 defines the nomenclature used to name refrigerants and provides safety (flammability and toxicity) classifications for 53 pure fluids and 45 blends. These classifications are referenced by ASHRAE Standard 15-2022, which defines allowable refrigerants in different applications. The “NIST Leak/Recharge Simulation Program for Refrigerant Mixtures (RELEAK, Standard Reference Database 73), Version 6.0,” allows the user to conduct fractionation analyses on refrigerant blends. Extensive data on lubricants and materials compatibility are available in the reports resulting from the Materials Compatibility and Lubricants Research Program of the Air-Conditioning and Refrigeration Technology Institute, similar work continues under the AHRTI Research Program, see: www.ahrinet.org/analytics/research/public-sector-research/past-programs Some of the equipment and refrigerant manufacturers provide their customers design data and/or computer programs for their equipment and fluids. When new refrigerants (especially blends) are introduced, design data can be obtained from the refrigerant manufacturer. The handbook and other publications may be purchased and/or individual chapters of the handbook may be purchased and downloaded on-line at our website, www.ashrae.org or by calling 1-800-527-4723 in the USA and Canada or 1-404-636-8400 worldwide. NIST - National Institute of Standards and Technology, www.nist.gov ARTI - Air-Conditioning and Refrigeration Technology Institute, www.ahrinet.org/analytics/research.. ASHRAE Pubs; ASHRAE Standard 34-2022, "Designation and Safety Classification of Refrigerants", plus ASHRAE BOD approved addenda. ASHRAE Standard 15-2022, "Safety Standard for Refrigeration Systems", plus ASHRAE BOD approved addenda. 2021 ASHRAE Handbook - Fundamentals, Chapter F29 & F30 2022 ASHRAE Handbook - Refrigeration, Chapters R06, R07, & R12. Topic References; Refrigerants, Thermodynamic properties, Transport properties, Lubricants. Cognizant ASHRAE Committees; Refer to Organization. 1; TC 3.1; NIST. 2; TC 3.2; ARTI. 3; TC 3.4. 4; SSPC 34. 5.. |  |