|  |  |
| --- | --- |
| ASHRAE Technical FAQ | |
| |  |  |  |  | | --- | --- | --- | --- | |  | | | | | ID | 83 | | |  | | | | Question | How do I prove proper air pressure relationships in a health care facility? | | |  | | | | Answer | The [2023 ASHRAE Handbook – HVAC Applications](https://www.techstreet.com/ashrae/standards/2023-ashrae-handbook-hvac-applications-i-p?product_id=2225673), Chapter [A39](https://www.techstreet.com/ashrae/standards/a39-testing-adjusting-and-balancing-i-p?product_id=2573530) and [ASHRAE Standard 111-2008](https://www.techstreet.com/ashrae/standards/ashrae-111-2008-ra-2017?product_id=1999370) (RA-2017) provide information on test and balance procedures. If pressure relationships are critical, it might be appropriate to have a recognized test and balance professional make the necessary determinations.  [HVAC Design Manual for Hospitals and Clinics](http://www.techstreet.com/ashrae/products/1852624), 2nd edition  [ASHRAE Standard 170-2021](https://www.techstreet.com/ashrae/standards/ashrae-170-2021?product_id=2212971) – Ventilation of Healthcare Facilities  Additional Sources of Information are:  [NEBB](http://www.nebb.org) - National Environmental Balancing Bureau - [www.nebb.org](http://www.nebb.org)  [AABC](http://www.aabchq.com)- Associated Air Balance Council - [www.aabchq.com](http://www.aabchq.com)   The handbook and standard may be purchased and/or individual chapters of the handbook may be purchased and downloaded on-line at our website, [www.ashrae.org](http://www.ashrae.org) or by calling 1-800-527-4723 in the USA and Canada or 1-404-636-8400 worldwide. | | |  | | | | ASHRAE Pubs | [2023 ASHRAE Handbook – HVAC Applications](https://www.techstreet.com/ashrae/standards/2023-ashrae-handbook-hvac-applications-i-p?product_id=2225673), Chapter [A39](https://www.techstreet.com/ashrae/standards/a39-testing-adjusting-and-balancing-i-p?product_id=2573530)  [ASHRAE Standard 111-2008](https://www.techstreet.com/ashrae/standards/ashrae-111-2008-ra-2017?product_id=1999370) (RA-2017) - Testing, Adjusting, and Balancing of Building HVAC Systems  [ASHRAE Standard 170-2021](https://www.techstreet.com/ashrae/standards/ashrae-170-2021?product_id=2212971), plus [BOD approved addenda](http://www.ashrae.org/standards-research--technology/standards-addenda)  [HVAC Design Manual for Hospitals and Clinics](http://www.techstreet.com/ashrae/products/1852624), 2nd edition | | |  | | | | Topic References | health care facility, ventilation | | |  | | | | | |  |  |  | | --- | --- | --- | |  | Cognizant ASHRAE Committees | Refer to Organization | | 1 | [TC 7.7](http://tc0707.ashraetcs.org/) | [NEBB](http://www.nebb.org) | | 2 | [TC 9.6](http://tc0906.ashraetcs.org/) | [AABC](http://www.aabchq.com) | | 3 |  |  | | 4 |  |  | | 5 |  |  | | | |  | | | | |  |