|  |  |
| --- | --- |
| ASHRAE Technical FAQ | |
| |  |  |  |  | | --- | --- | --- | --- | |  | | | | | ID | 81 | | |  | | | | Question | What are the proper air pressure relationships between different areas in a health care facility? | | |  | | | | Answer | The air pressure relationships for specific health care facility areas vary by the medical processes and procedures that are going to occur in them. See the tables in the [HVAC Design Manual for Hospitals and Clinics 2nd edition](http://www.techstreet.com/ashrae/products/1852624) or the [ASHRAE Standard 170-2021](https://www.techstreet.com/ashrae/standards/ashrae-170-2021?product_id=2212971), Ventilation of Healthcare Facilities  ASHRAE publications may be purchased and/or individual chapters of the handbook may be purchased and downloaded on-line at our website, [www.ashrae.org](http://www.ashrae.org) or by calling 1-800-527-4723 in the USA and Canada or 1-404-636-8400 worldwide. | | |  | | | | ASHRAE Pubs | [HVAC Design Manual for Hospitals and Clinics 2](http://www.techstreet.com/ashrae/products/1852624)[nd](http://www.techstreet.com/ashrae/products/1852624) [edition](http://www.techstreet.com/ashrae/products/1852624)  [ASHRAE Standard 170-2021](https://www.techstreet.com/ashrae/standards/ashrae-170-2021?product_id=2212971), plus [ASHRAE BOD approved addenda](http://www.ashrae.org/standards-research--technology/standards-addenda) | | |  | | | | Topic References | Health care facility, relative air pressurization | | |  | | | | | |  |  |  | | --- | --- | --- | |  | Cognizant ASHRAE Committees | Refer to Organization | | 1 | [TC 9.6](http://tc96.ashraetcs.org/) | [ASHE](http://www.ashe.org) | | 2 | SSPC170 | [FGI](https://www.fgiguidelines.org/) | | 3 |  |  | | 4 |  |  | | 5 |  |  | | | |  | | | | |  |