|  |
| --- |
| ASHRAE Technical FAQ |
|

|  |
| --- |
|  |
| ID  | 82 |
|  |
| Question  | What are the recommended air changes and ventilation air in health care facilities? |
|  |
| Answer  | The recommended air change and ventilation rates for specific health care areas vary by the medical processes and procedures that are going to occur in them. See the tables in the [HVAC Design Manual for Hospitals and Clinics, 2nd edition](http://www.techstreet.com/ashrae/products/1852624) or the [ASHRAE Standard 170-2021](https://www.techstreet.com/ashrae/standards/ashrae-170-2021?product_id=2212971), Ventilation of Healthcare FacilitiesThe handbook and the other ASHRAE publications may be purchased and/or individual chapters of the handbook may be purchased and downloaded on-line at our website, [www.ashrae.org](http://www.ashrae.org) or by calling 1-800-527-4723 in the USA and Canada or 1-404-636-8400 worldwide. |
|  |
| ASHRAE Pubs  | [HVAC Design Manual for Hospitals and Clinics, 2](http://www.techstreet.com/ashrae/products/1852624)[nd](http://www.techstreet.com/ashrae/products/1852624) [edition](http://www.techstreet.com/ashrae/products/1852624)[ASHRAE Standard 170-2021](https://www.techstreet.com/ashrae/standards/ashrae-170-2021?product_id=2212971), plus [ASHRAE BOD approved addenda](http://www.ashrae.org/standards-research--technology/standards-addenda) |
|  |
| Topic References  | health care facility, ventilation |
|  |
|

|  |  |  |
| --- | --- | --- |
|  | Cognizant ASHRAE Committees | Refer to Organization |
| 1 | [TC 9.6](http://tc0906.ashraetcs.org/) |  |
| 2 |  | ASHE  |
| 3 |  | FGI |
| 4 |  |  |
| 5 |  |  |

 |
|  |

 |  |