Why do I receive a warning message when I open the IAQP Calculator?

In order to perform multizone calculations, you will need to enable iterative calculations in Excel.

- Click the File tab, click Options, and then click the Formulas category.

- Under the Calculation options heading, click the checkbox next to Enable iterative calculation. Set the maximum iterations value to 30 and the maximum change to 0.001.

- Click OK to accept the changes.

Why do I receive a message that Microsoft has blocked macros from running?

Depending on your settings, your system may be configured to disable some macros from running as a security precaution. Instructions for allowing macros can be found here, or contact your system administrator as needed.

Why do the VRP Calculators look so similar to the 62MZCalc spreadsheets?

The 2010, 2016, and 2019 VRP Calculators are functionally identical to the 62MZCalc spreadsheets packaged with the 2010, 2016, and 2019 62.1 User’s Manuals.

With the addition of the 2022 “VRP Calculator—Simplified Procedure,” the 62MZCalc files were relabeled as “VRP Calculator—Appendix A Procedure” to differentiate them from the simplified version.

Which VRP calculator should I use?

Both the Appendix A Procedure and Simplified Procedure calculators are based on the Standard 62.1 Ventilation Rate Procedure (VRP) and, technically, both can be used for all system types—but not with equal ease of use.

The Appendix A Procedure calculator is based on the multiple-spaces equation from Appendix A. It is complex and intended to be used for multiple-zone recirculating systems. Though it can be used for single-zone and 100% outdoor air systems, it is not designed for those applications.

The new calculator based on the Simplified Procedure for multiple-zone systems can readily be used for single-zone and and 100% outdoor air systems too.

Does ASHRAE provide customer support for these products?

These spreadsheets are provided as-is. ASHRAE does not provide customer support for Microsoft Excel or for normal operation of the calculators.

However, if you suspect a calculation error, please e-mail standardpubs@ashrae.org with a detailed description of the expected behavior and the actual calculated results and we will investigate.